Analyze-tone vi

- Analyze Tone signal for Frequency, Amplitude & THD

Input:

signal in (waveform): recorded waveform input

Input Calibration: Calibration value for input channel

Units: Units for output data (dBPa, dBSPL)

Output:

Detected frequency: Analyzed signal frequency

Detected amplitude: analyzed signal amplitude

THD: analyzed signal THD

Front Panel: