Analyze vi

- Extract FR, phase, THD data from recorded-Y data & Stimulus-Y data

Input:

Unit (int) :  or

Stimulus-Y (array double) : Y data extracted from Stimulus

Recorded-Y (array double) : Y data extracted from Recorded waveform

Sampling rate (int)

Signal config (cluster) :

Input config (cluster) : soundcard & microphone calibration info

Method (int) :  or

Maximum Harmonic (int) : Max harmonic for THD calculation

Output:

freqArray (array double) : frequency data point

fundamental (cluster) : unsmooth frequency response & phase curve

THD (cluster) : THD curve

Front Panel :