## Overall
Klippel QC Gauge Repeatability & Reproducibility Report
Model Name: |  | SO Klippel QC -- Play3 Passive Radiator
Ambient Temperature: |  |  | ℃
Relative Humidity: |  |  | %
Measurement date: |  | 2014.04.10
|  |  |  | Analyzed based on data of Trial 1, 2, 3 |  | Analyzed based on data of Trial 2, 3, 4
|  |  |  | fs | Stiffness deviations | fs | Stiffness deviations
Variation caused by Equipment: |  |  |  | 15.14% | 26.48% | 5.254% | 11.68%
Variation caused by Appraiser: |  |  |  | 6.13% | 11.4% | 1.716% | 3.009%
Overall Gauge RnR Error: |  |  |  | 16.33% | 28.83% | 5.527% | 12.06%
Repeatability: | Repeatability is the variation in measurements obtained with one measurement instrument when used several times by an appraiser while measuring the identical characteristic on the same part.
Reproducibility: | Reproducibility is the variation in the average of the measurements made by different appraisers using the same measuring instrument when measuring the identical characteristic on the same part.
Stability: | Stability is the total variation in the measurements obtained with a measurement system on the same master or parts when measuring a single characteristic over an extended time period.
.

## fs-234
Klippel QC Gauge Repeatability & Reproducibility Report
Model Name: |  |  | SO Klippel QC -- Play3 PR fs
Ambient Temperature: |  |  |  | ℃
Relative Humidity: |  |  |  | % | [7 empty] | SPEC (Hz): |  | 0
Tolerance (%):
Measurement date: |  |  | 2014.04.10 | [8 empty] | Tolerance (mm): |  | 4 | -4
Operators | A |  |  |  |  | B |  |  |  |  | C
Trails | 1 | 2 | 3 |  | Range | 1 |  | 2 | 3 | Range | 1 |  | 2 | 3 | Range
Sample
1 | 37.1991 | 37.0277 | 37.0277 |  | 0.17146 |  | 37.1133 | 37.0277 | 37.0277 | 0.085632 |  | 37.1133 | 37.1133 | 37.0277 | 0.085632
2 | 37.1133 | 37.0277 | 36.9422 |  | 0.17107 |  | 37.0277 | 36.9422 | 36.9422 | 0.085434 |  | 37.0277 | 36.9422 | 37.0277 | 0.085434
3 | 35.9323 | 35.6842 | 35.5197 |  | 0.41262 |  | 35.7667 | 35.356 | 35.6018 | 0.41072 |  | 35.6842 | 35.4377 | 35.6018 | 0.24643
4 | 36.9422 | 36.857 | 36.772 |  | 0.17027 |  | 36.857 | 36.772 | 36.772 | 0.085037 |  | 36.857 | 36.772 | 36.857 | 0.085037
5 | 36.2658 | 36.2658 | 36.0987 |  | 0.16716 |  | 36.2658 | 36.1822 | 36.1822 | 0.083676 |  | 36.2658 | 36.1822 | 36.2658 | 0.083676
6 | 37.6313 | 37.4578 | 37.3714 |  | 0.25988 |  | 37.4578 | 37.3714 | 37.3714 | 0.086426 |  | 37.4578 | 37.3714 | 37.3714 | 0.086426
7 | 36.857 | 36.6871 | 36.6871 |  | 0.16988 |  | 36.772 | 36.6871 | 36.6871 | 0.084843 |  | 36.772 | 36.6871 | 36.6871 | 0.084843
8 | 37.0277 | 36.9422 | 36.9422 |  | 0.085434 |  | 36.9422 | 36.9422 | 36.857 | 0.085236 |  | 36.9422 | 36.857 | 36.857 | 0.085236
9 | 37.0277 | 36.9422 | 36.857 |  | 0.17067 |  | 36.9422 | 36.857 | 36.857 | 0.085236 |  | 36.9422 | 36.857 | 36.857 | 0.085236
10 | 36.4338 | 36.2658 | 36.2658 |  | 0.16793 |  | 36.3497 | 36.2658 | 36.3497 | 0.08387 |  | 36.3497 | 36.2658 | 36.2658 | 0.08387
Totals: | 368.4302 | 367.1576 | 366.4838 |  | 1.9464 | 367.4945 |  | 366.4036 | 366.6481 | 1.1761 | 367.412 |  | 366.4858 | 366.8184 | 1.0118
| Sum | 1102.0717 | Ave Ra |  | 0.19464 | Sum |  | 1100.5462 | Ave Rb | 0.11761 | Sum |  | 1100.7161 | Ave Rc | 0.10118
| X Average | 36.7357 |  |  |  | X Average |  | 36.6849 |  |  | X Average |  | 36.6905
| Average R: | 0.13781 |  | D4= | 2.58
| UCL: | 0.35555 |  | K1= | 3.05 | for 3 trials. |  |  | K2= | 2.7 | for 3 appraisers.
| Repeatability: | 0.42032 | 5.254% |  | Variation caused by Equipment
| Reproducibility: | 0.13729 | 1.716% |  | Variation caused by Operator
| Gauge Capability: | 0.44217 | 5.527% |  | Overall Gauge RnR Capability
Repeatability: |  | Repeatability is the variation in measurements obtained with one measurement instrument when used several times by an appraiser while measuring the identical characteristic on the same part.
Reproducibility: |  | Reproducibility is the variation in the average of the measurements made by different appraisers using the same measuring instrument when measuring the identical characteristic on the same part.
Stability: |  | Stability is the total variation in the measurements obtained with a measurement system on the same master or parts when measuring a single characteristic over an extended time period.
.

## K-234
Klippel QC Gauge Repeatability & Reproducibility Report
Model Name: |  |  | SO Klippel QC -- Play3 PR Stillness deviations
Ambient Temperature: |  |  |  | ℃
Relative Humidity: |  |  |  | % | [7 empty] | SPEC (Hz): |  | 0
Tolerance (%):
Measurement date: |  |  | 2014.04.10 | [8 empty] | Tolerance (mm): |  | 10 | -10
Operators | A |  |  |  |  | B |  |  |  |  | C
Trails | 1 | 2 | 3 |  | Range | 1 |  | 2 | 3 | Range | 1 |  | 2 | 3 | Range
Sample
1 | -10.5334 | -11.2058 | -11.3547 |  | 0.82127 |  | -10.6336 | -11.2469 | -11.2561 | 0.6225 |  | -11.158 | -10.8112 | -11.3049 | 0.49378
2 | -10.4274 | -10.6447 | -11.2366 |  | 0.80923 |  | -10.5456 | -11.4495 | -11.2999 | 0.90394 |  | -10.556 | -10.9996 | -10.2274 | 0.77224
3 | -15.9477 | -17.456 | -18.3462 |  | 2.3985 |  | -17.2753 | -18.6435 | -17.9263 | 1.3682 |  | -18.5007 | -18.839 | -18.5382 | 0.33837
4 | -9.9893 | -10.5167 | -10.7918 |  | 0.80254 |  | -11.0621 | -11.6058 | -11.4157 | 0.54378 |  | -10.8653 | -11.9547 | -11.1651 | 1.0894
5 | -14.5561 | -14.3055 | -15.5924 |  | 1.2868 |  | -14.3208 | -14.0802 | -13.9588 | 0.36197 |  | -14.1386 | -14.127 | -14.8152 | 0.68821
6 | -8.6428 | -9.0924 | -9.6121 |  | 0.96923 |  | -9.6383 | -9.7869 | -9.3888 | 0.39805 |  | -9.2131 | -10.1476 | -9.7594 | 0.93449
7 | -11.7771 | -12.5054 | -12.0788 |  | 0.7283 |  | -12.1306 | -12.5684 | -12.6815 | 0.5509 |  | -11.6291 | -12.2801 | -11.8292 | 0.65105
8 | -9.6503 | -10.0227 | -10.3442 |  | 0.69394 |  | -11.0668 | -11.0998 | -10.9191 | 0.18072 |  | -10.4331 | -10.6935 | -10.7808 | 0.34762
9 | -11.5175 | -12.1026 | -11.7856 |  | 0.58515 |  | -11.882 | -11.5101 | -11.8725 | 0.37184 |  | -10.9554 | -11.9439 | -11.7968 | 0.98854
10 | -14.4922 | -15.4294 | -15.3359 |  | 0.93721 |  | -14.4004 | -14.3712 | -13.9425 | 0.45789 |  | -13.9515 | -14.8007 | -14.8324 | 0.88086
Totals: | -117.5338 | -123.2813 | -126.4781 |  | 10.0322 | -122.9555 |  | -126.3625 | -124.6613 | 5.7598 | -121.4008 |  | -126.5974 | -125.0494 | 7.1846
| Sum | -367.2932 | Ave Ra |  | 1.0032 | Sum |  | -373.9793 | Ave Rb | 0.57598 | Sum |  | -373.0476 | Ave Rc | 0.71846
| X Average | -12.2431 |  |  |  | X Average |  | -12.466 |  |  | X Average |  | -12.4349
| Average R: | 0.76589 |  | D4= | 2.58
| UCL: | 1.976 |  | K1= | 3.05 | for 3 trials. |  |  | K2= | 2.7 | for 3 appraisers.
| Repeatability: | 2.336 | 11.68% |  | Variation caused by Equipment
| Reproducibility: | 0.60174 | 3.009% |  | Variation caused by Operator
| Gauge Capability: | 2.4122 | 12.06% |  | Overall Gauge RnR Capability
Repeatability: |  | Repeatability is the variation in measurements obtained with one measurement instrument when used several times by an appraiser while measuring the identical characteristic on the same part.
Reproducibility: |  | Reproducibility is the variation in the average of the measurements made by different appraisers using the same measuring instrument when measuring the identical characteristic on the same part.
Stability: |  | Stability is the total variation in the measurements obtained with a measurement system on the same master or parts when measuring a single characteristic over an extended time period.
.

## fs-123
Klippel QC Gauge Repeatability & Reproducibility Report
Model Name: |  |  | SO Klippel QC -- Play3 PR fs
Ambient Temperature: |  |  |  | ℃
Relative Humidity: |  |  |  | % | [6 empty] | SPEC (Hz): |  | 0
Tolerance (%):
Measurement date: |  |  | 2014.04.10 | [7 empty] | Tolerance (mm): |  | 4 | -4
Operators | A |  |  |  |  | B |  |  |  | C
Trails | 1 | 2 | 3 |  | Range | 1 | 2 | 3 | Range | 1 |  | 2 | 3 | Range
Sample
1 | 37.6313 | 37.1991 | 37.0277 |  | 0.60359 | 37.3714 | 37.1133 | 37.0277 | 0.34371 | 37.2852 |  | 37.1133 | 37.1133 | 0.17185
2 | 37.5444 | 37.1133 | 37.0277 |  | 0.51676 | 37.3714 | 37.0277 | 36.9422 | 0.42914 | 37.1133 |  | 37.0277 | 36.9422 | 0.17107
3 | 36.518 | 35.9323 | 35.6842 |  | 0.83387 | 36.3497 | 35.7667 | 35.356 | 0.99375 | 35.7667 |  | 35.6842 | 35.4377 | 0.32895
4 | 37.2852 | 36.9422 | 36.857 |  | 0.42815 | 37.1133 | 36.857 | 36.772 | 0.34134 | 36.9422 |  | 36.857 | 36.772 | 0.17027
5 | 36.772 | 36.2658 | 36.2658 |  | 0.50613 | 36.518 | 36.2658 | 36.1822 | 0.33586 | 36.4338 |  | 36.2658 | 36.1822 | 0.25161
6 | 38.1573 | 37.6313 | 37.4578 |  | 0.69947 | 37.8929 | 37.4578 | 37.3714 | 0.52156 | 37.8055 |  | 37.4578 | 37.3714 | 0.43413
7 | 37.1991 | 36.857 | 36.6871 |  | 0.51201 | 37.0277 | 36.772 | 36.6871 | 0.34055 | 36.9422 |  | 36.772 | 36.6871 | 0.25512
8 | 37.3714 | 37.0277 | 36.9422 |  | 0.42914 | 37.1133 | 36.9422 | 36.9422 | 0.17107 | 37.0277 |  | 36.9422 | 36.857 | 0.17067
9 | 37.3714 | 37.0277 | 36.9422 |  | 0.42914 | 37.1991 | 36.9422 | 36.857 | 0.34213 | 37.1133 |  | 36.9422 | 36.857 | 0.2563
10 | 36.772 | 36.4338 | 36.2658 |  | 0.50613 | 36.518 | 36.3497 | 36.2658 | 0.25219 | 36.4338 |  | 36.3497 | 36.2658 | 0.16793
Totals: | 372.622 | 368.4302 | 367.1576 |  | 5.4644 | 370.4749 | 367.4945 | 366.4036 | 4.0713 | 368.8637 |  | 367.412 | 366.4858 | 2.3779
| Sum | 1108.2099 | Ave Ra |  | 0.54644 | Sum | 1104.373 | Ave Rb | 0.40713 | Sum |  | 1102.7614 | Ave Rc | 0.23779
| X Average | 36.9403 |  |  |  | X Average | 36.8124 |  |  | X Average |  | 36.7587
| Average R: | 0.39712 |  | D4= | 2.58
| UCL: | 1.0246 |  | K1= | 3.05 | for 3 trials. |  | K2= | 2.7 | for 3 appraisers.
| Repeatability: | 1.2112 | 15.14% |  | Variation caused by Equipment
| Reproducibility: | 0.49036 | 6.13% |  | Variation caused by Operator
| Gauge Capability: | 1.3067 | 16.33% |  | Overall Gauge RnR Capability
Repeatability: |  | Repeatability is the variation in measurements obtained with one measurement instrument when used several times by an appraiser while measuring the identical characteristic on the same part.
Reproducibility: |  | Reproducibility is the variation in the average of the measurements made by different appraisers using the same measuring instrument when measuring the identical characteristic on the same part.
Stability: |  | Stability is the total variation in the measurements obtained with a measurement system on the same master or parts when measuring a single characteristic over an extended time period.
.

## K-123
Klippel QC Gauge Repeatability & Reproducibility Report
Model Name: |  |  | SO Klippel QC -- Play3 PR Stillness deviations
Ambient Temperature: |  |  |  | ℃
Relative Humidity: |  |  |  | % | [7 empty] | SPEC (Hz): |  | 0
Tolerance (%):
Measurement date: |  |  | 2014.04.10 | [8 empty] | Tolerance (mm): |  | 10 | -10
Operators | A |  |  |  |  | B |  |  |  |  | C
Trails | 1 | 2 | 3 |  | Range | 1 |  | 2 | 3 | Range | 1 |  | 2 | 3 | Range
Sample
1 | -8.7314 | -10.5334 | -11.2058 |  | 2.4744 |  | -10.0462 | -10.6336 | -11.2469 | 1.2007 |  | -10.5136 | -11.158 | -10.8112 | 0.64442
2 | -8.6927 | -10.4274 | -10.6447 |  | 1.952 |  | -8.7565 | -10.5456 | -11.4495 | 2.693 |  | -10.0149 | -10.556 | -10.9996 | 0.98465
3 | -12.8928 | -15.9477 | -17.456 |  | 4.5631 |  | -13.3073 | -17.2753 | -18.6435 | 5.3362 |  | -17.4077 | -18.5007 | -18.839 | 1.4313
4 | -8.8483 | -9.9893 | -10.5167 |  | 1.6684 |  | -10.8738 | -11.0621 | -11.6058 | 0.73208 |  | -11.2553 | -10.8653 | -11.9547 | 1.0894
5 | -12.6255 | -14.5561 | -14.3055 |  | 1.9307 |  | -13.1548 | -14.3208 | -14.0802 | 1.166 |  | -12.902 | -14.1386 | -14.127 | 1.2366
6 | -5.9431 | -8.6428 | -9.0924 |  | 3.1493 |  | -7.0165 | -9.6383 | -9.7869 | 2.7704 |  | -8.1759 | -9.2131 | -10.1476 | 1.9717
7 | -10.4068 | -11.7771 | -12.5054 |  | 2.0986 |  | -11.3031 | -12.1306 | -12.5684 | 1.2654 |  | -10.856 | -11.6291 | -12.2801 | 1.4241
8 | -8.4372 | -9.6503 | -10.0227 |  | 1.5855 |  | -10.4624 | -11.0668 | -11.0998 | 0.63737 |  | -10.6677 | -10.4331 | -10.6935 | 0.26039
9 | -9.9439 | -11.5175 | -12.1026 |  | 2.1588 |  | -11.1799 | -11.882 | -11.5101 | 0.70203 |  | -11.4568 | -10.9554 | -11.9439 | 0.98854
10 | -13.1044 | -14.4922 | -15.4294 |  | 2.325 |  | -13.5894 | -14.4004 | -14.3712 | 0.81093 |  | -14.5231 | -13.9515 | -14.8007 | 0.84925
Totals: | -99.6261 | -117.5338 | -123.2813 |  | 23.9058 | -109.69 |  | -122.9555 | -126.3625 | 17.3141 | -117.7731 |  | -121.4008 | -126.5974 | 10.8804
| Sum | -340.4412 | Ave Ra |  | 2.3906 | Sum |  | -359.0079 | Ave Rb | 1.7314 | Sum |  | -365.7713 | Ave Rc | 1.088
| X Average | -11.348 |  |  |  | X Average |  | -11.9669 |  |  | X Average |  | -12.1924
| Average R: | 1.7367 |  | D4= | 2.58
| UCL: | 4.4806 |  | K1= | 3.05 | for 3 trials. |  |  | K2= | 2.7 | for 3 appraisers.
| Repeatability: | 5.2969 | 26.48% |  | Variation caused by Equipment
| Reproducibility: | 2.2797 | 11.4% |  | Variation caused by Operator
| Gauge Capability: | 5.7666 | 28.83% |  | Overall Gauge RnR Capability
Repeatability: |  | Repeatability is the variation in measurements obtained with one measurement instrument when used several times by an appraiser while measuring the identical characteristic on the same part.
Reproducibility: |  | Reproducibility is the variation in the average of the measurements made by different appraisers using the same measuring instrument when measuring the identical characteristic on the same part.
Stability: |  | Stability is the total variation in the measurements obtained with a measurement system on the same master or parts when measuring a single characteristic over an extended time period.
.