{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["UnderTheHood","GAGERR"],"not_rendered":{"charts":2,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"UnderTheHood","index":0,"n_rows":38,"n_cols":14,"rows_kept":38,"hidden":true,"flags":["formulas_cached_only"]}
{"$rows_empty":13}
["SAMPLE SIZE",10,"           APPRAISERS",null,3]
[null,null,"          TRIALS",null,3]
[]
["Appraiser/"]
["Trail #",1,2,3,4,5,6,7,8,9,10,null,"AVG"]
["A"]
[1,10,9.9,9.8,9.7,9.8,9.9,10,10.1,10.2,10.3,null,{"v":9.969999999999999,"d":"9.970"}]
[2,10,9.95,9.84,9.6,9.75,9.8,9.9,10.2,10.2,10.15,null,{"v":9.939000000000002,"d":"9.939"}]
[3,10,9.9,9.8,9.7,9.8,9.9,10,10.1,10.2,10.3,null,{"v":9.969999999999999,"d":"9.970"}]
["AVG'S",{"v":10,"d":"10.000"},{"v":9.916666666666666,"d":"9.917"},{"v":9.813333333333334,"d":"9.813"},{"v":9.666666666666666,"d":"9.667"},{"v":9.783333333333333,"d":"9.783"},{"v":9.866666666666667,"d":"9.867"},{"v":9.966666666666667,"d":"9.967"},{"v":10.133333333333333,"d":"10.133"},{"v":10.2,"d":"10.200"},{"v":10.250000000000002,"d":"10.250"},"Xa",{"v":9.959666666666665,"d":"9.960"},9.959666666666665]
["Range",{"v":0,"d":"0.000"},{"v":0.049999999999998934,"d":"0.050"},{"v":0.03999999999999915,"d":"0.040"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.09999999999999964,"d":"0.100"},{"v":0,"d":"0.000"},{"v":0.15000000000000036,"d":"0.150"},"Ra",{"v":0.06899999999999977,"d":"0.069"}]
["B"]
[1,9.9,9.1,9.7,9.65,9.76,9.8,9.95,10.05,10.18,10.2,null,9.829]
[2,9,9.1,9.75,9.5,9.9,9.9,9.9,10.2,10.22,10.3,null,9.777]
[3,9.7,9.15,9.8,9.7,9.8,9.9,9.8,10.1,10.15,10.1,null,{"v":9.82,"d":"9.820"}]
["AVG'S",{"v":9.533333333333333,"d":"9.53"},{"v":9.116666666666667,"d":"9.12"},9.75,{"v":9.616666666666665,"d":"9.62"},9.82,{"v":9.866666666666667,"d":"9.87"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.183333333333332,"d":"10.18"},{"v":10.200000000000001,"d":"10.20"},"Xb",{"v":9.808666666666667,"d":"9.809"}]
["Range",{"v":0.9000000000000004,"d":"0.900"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.10000000000000142,"d":"0.100"},{"v":0.1999999999999993,"d":"0.200"},{"v":0.14000000000000057,"d":"0.140"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.07000000000000028,"d":"0.070"},{"v":0.20000000000000107,"d":"0.200"},"Rb",{"v":0.20600000000000004,"d":"0.206"}]
["C"]
[1,10.2,9.2,9.9,9.6,9.7,9.8,9.95,9.95,10.1,10.2,null,{"v":9.86,"d":"9.860"}]
[2,10.1,9.3,9.95,9.55,9.8,9.8,9.9,9.9,10.1,10.2,null,{"v":9.860000000000001,"d":"9.860"}]
[3,10.05,9.3,9.6,9.7,9.8,9.8,9.8,9.8,10.15,10.1,null,{"v":9.809999999999999,"d":"9.810"}]
["AVG'S",{"v":10.116666666666665,"d":"10.12"},{"v":9.266666666666667,"d":"9.27"},{"v":9.816666666666668,"d":"9.82"},{"v":9.616666666666665,"d":"9.62"},{"v":9.766666666666667,"d":"9.77"},{"v":9.8,"d":"9.80"},{"v":9.883333333333335,"d":"9.88"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.166666666666666,"d":"10.17"},"Xc",{"v":9.843333333333332,"d":"9.843"}]
["Range",{"v":0.14999999999999858,"d":"0.150"},{"v":0.10000000000000142,"d":"0.100"},{"v":0.34999999999999964,"d":"0.350"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.10000000000000142,"d":"0.100"},{"v":0,"d":"0.000"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.09999999999999964,"d":"0.100"},"Rc",{"v":0.12999999999999973,"d":"0.130"}]
["Part",{"$nulls":10},"X"]
["Average",{"v":9.883333333333333,"d":"9.8833"},{"v":9.433333333333332,"d":"9.4333"},{"v":9.793333333333335,"d":"9.7933"},{"v":9.633333333333333,"d":"9.6333"},{"v":9.79,"d":"9.7900"},{"v":9.844444444444445,"d":"9.8444"},{"v":9.911111111111111,"d":"9.9111"},{"v":10.044444444444444,"d":"10.0444"},{"v":10.166666666666666,"d":"10.1667"},{"v":10.205555555555556,"d":"10.2056"},"Rp "]

{"sheet":"GAGERR","index":1,"n_rows":141,"n_cols":30,"rows_kept":141,"flags":["formulas_cached_only"]}
[]
[null,"Instructions:"]
[null,null,"1) Add reference information to cells highlighted in light yellow:"]
[]
[null,null,"2) Add required information to all cells highlighted in gold:"]
[null,null,"    Note: Sample data is only required for the number of samples and trials actually run - you may leave some gold boxes empty."]
[]
[null,null,"3) Results are shown in cells highlighted in light blue:"]
[]
[null,null,"4) Manually adjust the scale on the Averages Chart so the control limits are wide enough to see the variation."]
[]
[]
[{"$nulls":4},"MEASUREMENT SYSTEMS ANALYSIS"]
[{"$nulls":15},"REPEATABILITY - EQUIPMENT VARIATION (EV)"]
[{"$nulls":4},"     REPEATABILITY & REPRODUCIBILITY",{"$nulls":5},"DATE"," ",{"$nulls":3},"REPRODUCIBILITY - APPRAISER VARIATION (AV)"]
[{"$nulls":15},"REPEATABILITY & REPRODUCIBILITY (R&R)"]
[null,"GAGE NAME"," ",{"$nulls":4},"CHARACTERISTIC",null," ",{"$nulls":5},"PART VARIATION (PV)"]
[{"$nulls":15},"TOTAL VARIATION (TV)"]
[null,"GAGE TYPE"," ",{"$nulls":4},"    SPECIFICATION",null,"9 ~ 11"]
[]
[null,"GAGE NUMBER"," ",{"$nulls":4},"        TEST NUMBER",null," "," "," ",{"$nulls":5},"n / TV","n / Tol"]
[{"$nulls":15},"EV",null,{"v":0.29910021854207897,"d":"29.91%"},{"v":0.20587499999999975,"d":"21%"}]
[null,"APPRAISER A  NAME",null," ",{"$nulls":3},"APPRAISER B  NAME",null," ",{"$nulls":5},"AV",null,{"v":0.2910801903243453,"d":"29.11%"},{"v":0.20035469875323342,"d":"20%"}]
[{"$nulls":15},"R&R",null,{"v":0.41735909949487915,"d":"41.74%"},{"v":0.2872742956435518,"d":"29%"}]
[null,"SAMPLE SIZE",10,"           APPRAISERS",null,3,null,"APPRAISER C  NAME",null," ",{"$nulls":5},"PV",null,{"v":0.9087416475923304,"d":"90.87%"},{"v":0.6255000000000014,"d":"63%"}]
[]
[{"$nulls":3},"          TRIALS",null,3,{"$nulls":9},"TV",null,1.3766288838136451]
[]
[]
[null,"Appraiser/"]
[null,"Trial #",1,2,3,4,5,6,7,8,9,10,null,"AVG"]
[null,"A"]
[null,1,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"}]
[null,2,{"v":10,"d":"10.00"},9.95,9.84,{"v":9.6,"d":"9.60"},9.75,{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},10.15,null,{"v":9.939000000000002,"d":"9.939"}]
[null,3,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"}]
[null,"AVG'S",{"v":10,"d":"10.000"},{"v":9.916666666666666,"d":"9.917"},{"v":9.813333333333334,"d":"9.813"},{"v":9.666666666666666,"d":"9.667"},{"v":9.783333333333333,"d":"9.783"},{"v":9.866666666666667,"d":"9.867"},{"v":9.966666666666667,"d":"9.967"},{"v":10.133333333333333,"d":"10.133"},{"v":10.2,"d":"10.200"},{"v":10.250000000000002,"d":"10.250"},"Xa",{"v":9.959666666666665,"d":"9.960"}]
[null,"Range",{"v":0,"d":"0.000"},{"v":0.049999999999998934,"d":"0.050"},{"v":0.03999999999999915,"d":"0.040"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.09999999999999964,"d":"0.100"},{"v":0,"d":"0.000"},{"v":0.15000000000000036,"d":"0.150"},"Ra",{"v":0.06899999999999977,"d":"0.069"}]
[null,"B"]
[null,1,{"v":9.9,"d":"9.90"},{"v":9.1,"d":"9.10"},{"v":9.7,"d":"9.70"},9.65,9.76,{"v":9.8,"d":"9.80"},9.95,10.05,10.18,{"v":10.2,"d":"10.20"},null,9.829]
[null,2,{"v":9,"d":"9.00"},{"v":9.1,"d":"9.10"},9.75,{"v":9.5,"d":"9.50"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},10.22,{"v":10.3,"d":"10.30"},null,9.777]
[null,3,{"v":9.7,"d":"9.70"},9.15,{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":10.1,"d":"10.10"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.82,"d":"9.820"}]
[null,"AVG'S",{"v":9.533333333333333,"d":"9.533"},{"v":9.116666666666667,"d":"9.117"},{"v":9.75,"d":"9.750"},{"v":9.616666666666665,"d":"9.617"},{"v":9.82,"d":"9.820"},{"v":9.866666666666667,"d":"9.867"},{"v":9.883333333333335,"d":"9.883"},{"v":10.116666666666667,"d":"10.117"},{"v":10.183333333333332,"d":"10.183"},{"v":10.200000000000001,"d":"10.200"},"Xb",{"v":9.808666666666667,"d":"9.809"}]
[null,"Range",{"v":0.9000000000000004,"d":"0.900"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.10000000000000142,"d":"0.100"},{"v":0.1999999999999993,"d":"0.200"},{"v":0.14000000000000057,"d":"0.140"},{"v":0.09999999999999964,"d":"0.100"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.07000000000000028,"d":"0.070"},{"v":0.20000000000000107,"d":"0.200"},"Rb",{"v":0.20600000000000004,"d":"0.206"}]
[null,"C"]
[null,1,{"v":10.2,"d":"10.20"},{"v":9.2,"d":"9.20"},{"v":9.9,"d":"9.90"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},9.95,9.95,{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.86,"d":"9.860"}]
[null,2,{"v":10.1,"d":"10.10"},{"v":9.3,"d":"9.30"},9.95,9.55,{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.860000000000001,"d":"9.860"}]
[null,3,10.05,{"v":9.3,"d":"9.30"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.809999999999999,"d":"9.810"}]
[null,"AVG'S",{"v":10.116666666666665,"d":"10.117"},{"v":9.266666666666667,"d":"9.267"},{"v":9.816666666666668,"d":"9.817"},{"v":9.616666666666665,"d":"9.617"},{"v":9.766666666666667,"d":"9.767"},{"v":9.8,"d":"9.800"},{"v":9.883333333333335,"d":"9.883"},{"v":9.883333333333335,"d":"9.883"},{"v":10.116666666666667,"d":"10.117"},{"v":10.166666666666666,"d":"10.167"},"Xc",{"v":9.843333333333332,"d":"9.843"}]
[null,"Range",{"v":0.14999999999999858,"d":"0.150"},{"v":0.10000000000000142,"d":"0.100"},{"v":0.34999999999999964,"d":"0.350"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.10000000000000142,"d":"0.100"},{"v":0,"d":"0.000"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.14999999999999858,"d":"0.150"},{"v":0.05000000000000071,"d":"0.050"},{"v":0.09999999999999964,"d":"0.100"},"Rc",{"v":0.12999999999999973,"d":"0.130"}]
[null,"Part",{"$nulls":10},"X",{"v":9.870555555555558,"d":"9.871"}]
[null,"Average",{"v":9.883333333333333,"d":"9.8833"},{"v":9.433333333333332,"d":"9.4333"},{"v":9.793333333333335,"d":"9.7933"},{"v":9.633333333333333,"d":"9.6333"},{"v":9.79,"d":"9.7900"},{"v":9.844444444444445,"d":"9.8444"},{"v":9.911111111111111,"d":"9.9111"},{"v":10.044444444444444,"d":"10.0444"},{"v":10.166666666666666,"d":"10.1667"},{"v":10.205555555555556,"d":"10.2056"},"Rp ",{"v":0.7722222222222239,"d":"0.772"}]
[{"$nulls":11}," ",null," "]
[null,"RANGE VARIATION",{"$nulls":5}," "]
[null,"Ra",{"v":0.06899999999999977,"d":"0.069"},null,"# Trials","D4",null,"Rdoublebar     x",null,"(D4)","=","UCLR"]
[null,"Rb",{"v":0.20600000000000004,"d":"0.206"},null,2,4.56,null,{"v":0.13499999999999984,"d":"0.1350"},null,3.05,"=",{"v":0.4117499999999995,"d":"0.412"}]
[null,"Rc",{"v":0.12999999999999973,"d":"0.130"},null,3,3.05,null,"Note: LCL is zero with < 8 trials",{"$nulls":3}," "]
[null,"SUM",{"v":0.4049999999999995,"d":"0.405"}]
[null,"Rdoublebar",{"v":0.13499999999999984,"d":"0.1350"},null,"# Trials","A2",null,"Xbar   +","( Rbar  x","A2)","=","UCLX"]
[{"$nulls":4},2,{"v":3.65,"d":"3.650"},null,{"v":9.870555555555558,"d":"9.8706"},{"v":0.13499999999999984,"d":"0.1350"},2.7,"=",{"v":10.235055555555558,"d":"10.235"}]
[{"$nulls":4},3,2.7,null,"Xbar   -","( Rbar  x","A2)","=","LCLX"]
[null," ",{"$nulls":5},{"v":9.870555555555558,"d":"9.8706"},{"v":0.13499999999999984,"d":"0.1350"},2.7,"=",{"v":9.506055555555559,"d":"9.506"}]
[]
[null,"Max. X",{"v":9.959666666666665,"d":"9.960"},{"$nulls":4},"Tolerence =",null,2,null,"# Trials - n","=",10]
[null,"Min. X",{"v":9.808666666666667,"d":"9.809"}]
[null,"X Diff",{"v":0.15099999999999802,"d":"0.151"},{"$nulls":8},"# Appr. - r","=",3]
[]
[null,"GAGE TYPE"," ",{"$nulls":5},"DATE",null," "]
[]
[null,"TEST NUMBER"," ",{"$nulls":5},"APPRAISER A  NAME",null," "]
[]
[{"$nulls":8},"APPRAISER B  NAME",null," "]
[]
[{"$nulls":8},"APPRAISER C  NAME",null," "]
[]
[null,null,"MEASUREMENT UNIT ANALYSIS",{"$nulls":6},"% TOTAL VARIATION (TV)"]
[]
[null,"   REPEATABILITY - EQUIPMENT VARIATION (EV)",{"$nulls":7},"% EV ","=","100 (EV/TV)",{"$nulls":5},"Trials","K1"]
[{"$nulls":9},"% EV","=",{"v":0.29910021854207897,"d":"29.91%"},{"$nulls":5},2,4.56]
[null,"EV = ","R1 X K1",null,"K1 (3 trials)=",null,3.05,{"$nulls":10},3,3.05]
[null,"EV = ",0.4117499999999995,{"$nulls":6},"Percent of Tolerance: 100(EV/Tol) =",{"$nulls":3},{"v":0.20587499999999975,"d":"20.6%"}]
[]
[]
[null,"  REPRODUCIBILITY - APPRAISER VARIATION (AV)"]
[{"$nulls":9},"% AV","=","100(AV/TV)",{"$nulls":5},"Appraisers","K2"]
[null,"AV = ","SQ. ROOT ((X DIFF X K2)SQUARED - (EV SQUARED/NR))",{"$nulls":6},"% AV","=",{"v":0.2910801903243453,"d":"29.11%"},{"$nulls":5},2,3.65]
[null,"AV = ",0.40070939750646684,null,"K2 (3 appraisers)=",null,{"v":2.7,"d":"2.70"},{"$nulls":10},3,{"v":2.7,"d":"2.70"}]
[{"$nulls":9},"Percent of Tolerance: 100(AV/Tol) =",{"$nulls":3},{"v":0.20035469875323342,"d":"20.0%"}]
[]
[]
[null,"  REPEATABILITY & REPRODUCIBILITY (R&R)",{"$nulls":7},"% R&R","=","100(R&R/TV)"]
[{"$nulls":9},"% R&R","=",{"v":0.41735909949487915,"d":"41.74%"}]
[null,"R&R = ","SQ. ROOT (EV SQUARED + AV SQUARED)"]
[null,"R&R = ",0.5745485912871036,{"$nulls":6},"Percent of Tolerance: 100(R&R/Tol) =",{"$nulls":3},{"v":0.2872742956435518,"d":"28.7%"}]
[]
[{"$nulls":15},"Parts","K3"]
[null,"  PART VARIATION (PV)",{"$nulls":7},"% PV","=","100(PV/TV)",{"$nulls":3},2,3.65]
[{"$nulls":9},"% PV","=",{"v":0.9087416475923304,"d":"90.87%"},{"$nulls":3},3,{"v":2.7,"d":"2.70"}]
[null,"PV = ","Rp x K3",null,"PARTS","K3",{"$nulls":9},4,{"v":2.3,"d":"2.30"}]
[null,"PV = ",1.2510000000000028,null,10,1.62,{"$nulls":3},"Percent of Tolerance: 100(PV/Tol) =",{"$nulls":3},{"v":0.6255000000000014,"d":"62.6%"},null,5,2.08]
[{"$nulls":15},6,1.93]
[{"$nulls":15},7,1.82]
[null,"  TOTAL VARIATION (TV)",{"$nulls":13},8,1.74]
[{"$nulls":15},9,1.67]
[null,"TV = ","SQ. ROOT(R&R SQUARED + PV SQUARED)",{"$nulls":12},10,1.62]
[null,"TV = ",1.3766288838136451]
[]
[]
[null," "," "]
[]
[null," "]
[{"$nulls":21},"Rbar","UCL",{"$nulls":4},"Xbar","UCL","LCL"]
[{"$nulls":17},1,{"v":0,"d":"0.000"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":10,"d":"10.000"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},2,{"v":0.049999999999998934,"d":"0.050"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.916666666666666,"d":"9.917"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},3,{"v":0.03999999999999915,"d":"0.040"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.813333333333334,"d":"9.813"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},4,{"v":0.09999999999999964,"d":"0.100"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.666666666666666,"d":"9.667"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},5,{"v":0.05000000000000071,"d":"0.050"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.783333333333333,"d":"9.783"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},6,{"v":0.09999999999999964,"d":"0.100"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.866666666666667,"d":"9.867"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},7,{"v":0.09999999999999964,"d":"0.100"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":9.966666666666667,"d":"9.967"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},8,{"v":0.09999999999999964,"d":"0.100"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":10.133333333333333,"d":"10.133"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},9,{"v":0,"d":"0.000"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":10.2,"d":"10.200"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},10,{"v":0.15000000000000036,"d":"0.150"},null,null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,{"v":10.250000000000002,"d":"10.250"},null,null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},1,null,{"v":0.9000000000000004,"d":"0.900"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.533333333333333,"d":"9.533"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},2,null,{"v":0.05000000000000071,"d":"0.050"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.116666666666667,"d":"9.117"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},3,null,{"v":0.10000000000000142,"d":"0.100"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.75,"d":"9.750"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},4,null,{"v":0.1999999999999993,"d":"0.200"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.616666666666665,"d":"9.617"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},5,null,{"v":0.14000000000000057,"d":"0.140"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.82,"d":"9.820"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},6,null,{"v":0.09999999999999964,"d":"0.100"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.866666666666667,"d":"9.867"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},7,null,{"v":0.14999999999999858,"d":"0.150"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":9.883333333333335,"d":"9.883"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},8,null,{"v":0.14999999999999858,"d":"0.150"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":10.116666666666667,"d":"10.117"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},9,null,{"v":0.07000000000000028,"d":"0.070"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":10.183333333333332,"d":"10.183"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},10,null,{"v":0.20000000000000107,"d":"0.200"},null,{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,null,null,{"v":10.200000000000001,"d":"10.200"},null,{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},1,null,null,{"v":0.14999999999999858,"d":"0.150"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":10.116666666666665,"d":"10.117"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},2,null,null,{"v":0.10000000000000142,"d":"0.100"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.266666666666667,"d":"9.267"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},3,null,null,{"v":0.34999999999999964,"d":"0.350"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.816666666666668,"d":"9.817"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},4,null,null,{"v":0.14999999999999858,"d":"0.150"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.616666666666665,"d":"9.617"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},5,null,null,{"v":0.10000000000000142,"d":"0.100"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.766666666666667,"d":"9.767"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},6,null,null,{"v":0,"d":"0.000"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.8,"d":"9.800"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},7,null,null,{"v":0.14999999999999858,"d":"0.150"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.883333333333335,"d":"9.883"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":15}," ",null,8,null,null,{"v":0.14999999999999858,"d":"0.150"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":9.883333333333335,"d":"9.883"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},9,null,null,{"v":0.05000000000000071,"d":"0.050"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":10.116666666666667,"d":"10.117"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]
[{"$nulls":17},10,null,null,{"v":0.09999999999999964,"d":"0.100"},{"v":0.13499999999999984,"d":"0.1350"},0.4117499999999995,{"$nulls":3},{"v":10.166666666666666,"d":"10.167"},{"v":9.870555555555558,"d":"9.871"},{"v":10.235055555555558,"d":"10.235"},{"v":9.506055555555559,"d":"9.506"}]