generatelimit vi

- Generate limit curve with provided input curve data, limits name, upper limit, and lower limit

Input:

Limits Name (String): Curve name for Limit curve without the “Lim – “

Curve input (Cluster):

Upper Limits (Double Array):

Lower Limits (Double Array):

Output:

Limit curve output (Cluster):

Front Panel: