{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["品质协会(www.PinZhi.org)"],"not_rendered":{"charts":5,"images":32,"external_links":1,"comments":8},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"品质协会(www.PinZhi.org)","index":0,"n_rows":227,"n_cols":17,"rows_kept":227,"merged":[[0,0,0,16],[1,0,1,16],[3,11,3,14],[3,15,3,16],[6,0,6,3],[6,4,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[6,12,6,13],[6,14,6,15],[8,0,8,3],[8,4,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[8,12,8,13],[8,14,8,15],[9,0,9,3],[10,0,10,3],[10,4,10,5],[10,6,10,7],[10,10,10,11],[10,12,10,13],[10,14,10,15],[11,0,11,3],[12,0,12,3],[12,4,12,5],[12,6,12,7],[12,9,12,11],[12,12,12,13],[12,14,12,15],[15,0,15,5],[15,14,15,16],[17,0,17,3],[17,15,17,16],[18,15,18,16],[19,15,19,16],[20,15,20,16],[24,15,24,16],[25,15,25,16],[26,15,26,16],[30,15,30,16],[31,15,31,16],[32,15,32,16],[36,0,36,3],[37,0,37,3],[38,0,38,3],[38,12,38,13],[39,1,39,3],[39,8,39,9],[40,1,40,3],[41,1,41,3],[42,0,42,16],[43,0,60,1],[53,5,53,6],[53,9,53,10],[53,13,53,14],[54,5,54,6],[54,9,54,10],[54,13,54,14],[55,5,55,6],[55,9,55,10],[55,13,55,14],[56,5,56,6],[56,9,56,10],[56,13,56,14],[57,5,57,6],[57,9,57,10],[57,13,57,14],[58,5,58,6],[58,9,58,10],[58,13,58,14],[60,7,60,9],[60,11,60,13],[61,0,77,1],[61,2,61,5],[61,8,61,9],[61,14,61,15],[62,3,62,9],[62,10,62,16],[64,10,64,11],[65,3,65,4],[65,10,65,11],[66,3,66,4],[66,10,66,11],[67,3,67,4],[67,10,67,11],[68,10,68,11],[69,3,69,9],[69,10,69,16],[71,3,71,4],[71,10,71,11],[72,3,72,4],[72,10,72,11],[73,3,73,4],[73,10,73,11],[74,3,74,4],[74,10,74,11],[75,3,75,4],[75,10,75,11],[76,3,76,4],[76,10,76,11],[77,3,77,4],[77,10,77,11],[79,0,79,16],[80,0,80,16],[82,0,82,3],[82,11,82,14],[82,15,82,16],[85,0,85,3],[85,4,85,5],[85,6,85,7],[85,8,85,9],[85,10,85,11],[85,12,85,13],[87,0,87,3],[87,4,87,5],[87,6,87,7],[87,8,87,9],[87,10,87,11],[87,12,87,13],[88,0,88,3],[89,0,89,3],[89,4,89,5],[89,6,89,7],[89,10,89,11],[89,12,89,13],[90,0,90,3],[91,0,91,3],[91,4,91,5],[91,6,91,7],[91,9,91,11],[91,12,91,13],[93,0,93,3],[94,12,94,16],[95,1,95,10],[95,11,95,16],[97,13,97,15],[98,2,98,4],[98,13,98,15],[102,13,102,15],[103,2,103,4],[103,13,103,15],[107,13,107,15],[108,2,108,4],[108,13,108,15],[112,6,112,7],[112,13,112,15],[113,2,113,4],[113,13,113,15],[114,6,115,8],[116,11,116,16],[117,7,117,10],[117,13,117,15],[118,2,118,4],[118,7,118,10],[118,13,118,15],[119,7,119,10],[120,7,120,10],[122,0,122,10],[122,11,123,12],[122,13,123,15],[123,0,123,10],[124,0,124,10],[124,12,125,16],[125,0,125,10],[126,0,128,3],[126,4,126,16],[127,4,127,16],[128,4,128,16],[129,4,129,6],[129,8,129,16],[130,4,130,6],[165,0,165,16],[166,0,166,16],[168,0,168,3],[168,12,168,14],[168,15,168,16],[171,0,171,3],[171,4,171,5],[171,6,171,7],[171,8,171,9],[171,10,171,11],[171,12,171,13],[173,0,173,3],[173,4,173,5],[173,6,173,7],[173,8,173,9],[173,10,173,11],[173,12,173,13],[174,0,174,3],[175,0,175,3],[175,4,175,5],[175,6,175,7],[175,10,175,11],[175,12,175,13],[176,0,176,3],[177,0,177,3],[177,4,177,5],[177,6,177,7],[177,9,177,11],[177,12,177,13],[180,1,180,3],[180,5,180,7],[181,1,181,4],[181,5,181,6],[181,7,181,8],[181,9,181,10],[181,11,181,12],[181,13,183,14],[182,1,182,4],[182,5,182,6],[182,7,182,8],[182,9,182,10],[182,11,182,12],[183,1,183,4],[183,5,183,6],[183,7,183,8],[183,9,183,10],[183,11,183,12],[184,1,184,4],[184,5,184,6],[184,7,184,8],[184,9,184,10],[184,11,184,12],[185,1,185,4],[185,5,185,6],[185,7,185,8],[185,9,185,10],[185,11,185,12],[186,1,186,4],[186,5,186,6],[186,7,186,8],[186,9,186,10],[186,11,186,12],[188,1,188,4],[188,5,188,6],[188,7,188,8],[188,9,188,10],[188,11,188,12],[188,13,188,14],[189,1,189,4],[189,5,189,6],[189,7,189,8],[189,9,189,10],[189,11,189,12],[189,13,189,14],[190,1,190,4],[190,5,190,6],[190,7,190,8],[190,9,190,10],[190,11,190,12],[190,13,190,14],[191,1,191,4],[191,5,191,6],[191,7,191,8],[191,9,191,10],[191,11,191,12],[191,13,191,14],[192,1,192,4],[192,5,192,6],[192,7,192,8],[192,9,192,10],[192,11,192,12],[192,13,192,14],[193,1,193,4],[193,5,193,6],[193,7,193,8],[193,9,193,10],[193,11,193,12],[193,13,193,14],[194,1,194,4],[194,5,194,6],[194,7,194,8],[194,9,194,10],[194,11,194,12],[194,13,194,14],[195,1,195,4],[195,5,195,6],[195,7,195,8],[195,9,195,10],[195,11,195,12],[195,13,195,14],[198,2,198,9],[198,12,198,13],[199,2,199,6],[211,9,213,12],[211,13,211,14],[211,15,211,16],[212,13,213,14],[212,15,213,16],[214,9,216,12],[214,13,215,14],[214,15,215,16],[222,0,222,3],[222,4,222,7],[222,10,222,16],[224,0,225,3],[224,4,224,16],[225,4,225,16],[226,4,226,6],[226,7,226,8]],"flags":["formulas_cached_only"]}
[]
["      测量系统分析MSA  GR&R---数据记录表 Data Worksheet"]
[]
[{"$nulls":11},"报告编号Report NO."]
[]
[]
["量具名称\nEquipment Name",{"$nulls":5},"产品类型\nDescription",{"$nulls":3},"测量人员\nOperatorＡ",{"$nulls":3},"测试日期\nTest Tate"]
[]
["量具编号\nEquipment NO.",{"$nulls":5},"基件编号\nP/N",{"$nulls":3},"测量人员\nOperatorＢ",{"$nulls":3},"平价人数\nAppraisers",null,3]
[]
["参数规格\nDimension",{"$nulls":5},"规格上限\nUSL",{"$nulls":3},"测量人员\nOperatorＣ",{"$nulls":3},"试验次数\nTrials",null,3]
[]
["单位\nUnit",{"$nulls":3},"MM",null,"规格下限\nLSL",null,null,"过程变差/过程能力\nProcess Variation(σ/PP)",{"$nulls":4},"样 品 数\nSamples",null,10]
[]
[]
["分析时机Analytical Occasion"]
[]
["零件编号Parts NO.",{"$nulls":3},1,2,3,4,5,6,7,8,9,10,"Total","平均值Average "]
["1.","A",null,1,0.29,-0.56,1.34,0.47,-0.8,0.02,0.59,-0.31,2.26,-1.36,1.9399999999999997,{"v":0.19399999999999998,"d":"0.194000"}]
["2.",null,null,2,0.41,-0.68,1.17,0.5,-0.92,-0.11,0.75,-0.2,1.99,-1.25,1.6600000000000001,{"v":0.166,"d":"0.166000"}]
["3.",null,null,3,0.64,-0.58,1.27,0.64,-0.84,-0.21,0.66,-0.17,2.01,-1.31,2.1100000000000003,{"v":0.21100000000000002,"d":"0.211000"}]
["4.",null,null,"均值Mean",{"v":0.4466666666666666,"d":"0.44667"},{"v":-0.6066666666666668,"d":"-0.60667"},{"v":1.26,"d":"1.26000"},{"v":0.5366666666666666,"d":"0.53667"},{"v":-0.8533333333333334,"d":"-0.85333"},{"v":-0.09999999999999999,"d":"-0.10000"},{"v":0.6666666666666666,"d":"0.66667"},{"v":-0.22666666666666668,"d":"-0.22667"},{"v":2.0866666666666664,"d":"2.08667"},{"v":-1.3066666666666669,"d":"-1.30667"},null,null,{"v":0.19033333333333327,"d":"0.190333"}]
[{"$nulls":3},"Sum A",1.3399999999999999,-1.8200000000000003,3.78,1.6099999999999999,-2.56,-0.3,2,-0.68,6.26,-3.9200000000000004,{"v":5.709999999999999,"d":"5.7100"}]
["5.",null,null," 极差Range",0.35000000000000003,0.12,0.17000000000000015,0.17000000000000004,0.12,0.22999999999999998,0.16000000000000003,0.13999999999999999,0.2699999999999998,0.1100000000000001,null,null,{"v":0.184,"d":"0.184000"}]
["6.","B",null,1,0.08,-0.47,1.19,0.01,-0.56,-0.2,0.47,-0.63,1.8,-1.68,0.010000000000000009,{"v":0.0010000000000000009,"d":"0.001000"}]
["7.",null,null,2,0.25,-1.22,0.94,1.03,-1.2,0.22,0.55,0.08,2.12,-1.62,11.304,{"v":0.11499999999999999,"d":"0.115000"}]
["8.",null,null,3,0.07,-0.68,1.34,0.2,-1.28,0.06,0.83,-0.34,2.19,-1.5,0.8899999999999997,{"v":0.08899999999999997,"d":"0.089000"}]
["9.",null,null,"均值Mean",{"v":0.13333333333333333,"d":"0.13333"},{"v":-0.79,"d":"-0.79000"},{"v":1.1566666666666665,"d":"1.15667"},{"v":0.41333333333333333,"d":"0.41333"},{"v":-1.0133333333333334,"d":"-1.01333"},{"v":0.02666666666666666,"d":"0.02667"},{"v":0.6166666666666667,"d":"0.61667"},{"v":-0.2966666666666667,"d":"-0.29667"},{"v":2.0366666666666666,"d":"2.03667"},{"v":-1.5999999999999999,"d":"-1.60000"},null,null,{"v":0.06833333333333329,"d":"0.068333"}]
[{"$nulls":3},"Sum B",0.4,-2.37,3.4699999999999998,1.24,-3.04,0.07999999999999999,1.85,-0.8900000000000001,6.109999999999999,-4.8,{"v":2.049999999999999,"d":"2.0500"}]
["10.",null,null," 极差Range",0.18,0.75,0.40000000000000013,1.02,0.72,0.42000000000000004,0.36,0.71,0.3899999999999999,0.17999999999999994,null,null,{"v":0.513,"d":"0.513000"}]
["11.","C",null,1,0.04,-1.38,0.88,0.14,-1.46,-0.29,0.02,-0.46,1.77,-1.49,-2.2299999999999995,{"v":-0.22299999999999995,"d":"-0.223000"}]
["12.",null,null,2,-0.11,-1.13,1.09,0.2,-1.07,-0.67,0.01,-0.56,1.45,-1.77,-2.5600000000000005,{"v":-0.25600000000000006,"d":"-0.256000"}]
["13.",null,null,3,-0.15,-0.96,0.67,0.11,-1.45,-0.49,0.21,-0.49,1.87,-2.16,-2.84,{"v":-0.284,"d":"-0.284000"}]
["14.",null,null,"均值Mean",{"v":-0.07333333333333333,"d":"-0.07333"},{"v":-1.1566666666666665,"d":"-1.15667"},{"v":0.88,"d":"0.88000"},{"v":0.15,"d":"0.15000"},{"v":-1.3266666666666669,"d":"-1.32667"},{"v":-0.48333333333333334,"d":"-0.48333"},{"v":0.08,"d":"0.08000"},{"v":-0.5033333333333333,"d":"-0.50333"},{"v":1.6966666666666665,"d":"1.69667"},{"v":-1.8066666666666666,"d":"-1.80667"},null,null,{"v":-0.2543333333333333,"d":"-0.254333"}]
[{"$nulls":3},"Sum C",-0.22,-3.4699999999999998,2.64,0.45,-3.9800000000000004,-1.45,0.24,-1.51,5.09,-5.42,-7.63]
["15.",null,null," 极差Range",{"v":0.19,"d":"0.1900"},{"v":0.41999999999999993,"d":"0.4200"},{"v":0.42000000000000004,"d":"0.4200"},{"v":0.09000000000000001,"d":"0.0900"},{"v":0.3899999999999999,"d":"0.3900"},{"v":0.38000000000000006,"d":"0.3800"},{"v":0.19999999999999998,"d":"0.2000"},{"v":0.10000000000000003,"d":"0.1000"},{"v":0.42000000000000015,"d":"0.4200"},{"v":0.6700000000000002,"d":"0.6700"},null,null,{"v":0.328,"d":"0.328000"}]
["零件均值\nParts Mean",{"$nulls":3},{"v":0.1688888888888889,"d":"0.168889"},{"v":-0.851111111111111,"d":"-0.851111"},{"v":1.098888888888889,"d":"1.098889"},{"v":0.3666666666666667,"d":"0.366667"},{"v":-1.0644444444444445,"d":"-1.064444"},{"v":-0.18555555555555558,"d":"-0.185556"},{"v":0.45444444444444443,"d":"0.454444"},{"v":-0.3422222222222222,"d":"-0.342222"},{"v":1.9399999999999997,"d":"1.940000"},{"v":-1.5711111111111111,"d":"-1.571111"},null,null,{"v":0.001444444444444426,"d":"0.001444"}]
["Total",{"$nulls":3},{"v":1.52,"d":"1.520000"},{"v":-7.659999999999999,"d":"-7.660000"},{"v":9.89,"d":"9.890000"},{"v":3.3000000000000003,"d":"3.300000"},{"v":-9.58,"d":"-9.580000"},{"v":-1.6700000000000002,"d":"-1.670000"},{"v":4.09,"d":"4.090000"},{"v":-3.08,"d":"-3.080000"},{"v":17.459999999999997,"d":"17.460000"},{"v":-14.14,"d":"-14.140000"},0.129999999999999,null,{"v":3.511111111111111,"d":"3.511111"}]
[{"$nulls":8},{"v":0.34166666666666673,"d":"0.341667"},{"$nulls":3},"试验次数Trials",null,null,2,3]
[{"$nulls":8},{"v":0.44466666666666654,"d":"0.444667"},{"$nulls":5},"D4",3.267,2.575]
[{"$nulls":6},{"v":0.35096944444444444,"d":"0.350969"},{"$nulls":4},{"v":0.8797916666666669,"d":"0.879792"},null,null,"D3",0,0]
[{"$nulls":6},{"v":-0.3480805555555556,"d":"-0.348081"},{"$nulls":4},{"v":0,"d":"0.000000"},null,null,"A2",1.88,1.023]
["    注:当分析结果超出要求后，利用均值极差图分析原因When analysis result is out of spec,need analyse the root cause by mean and range chart 。"]
["均值图\nmean chart"]
[]
[{"$nulls":4},1,2,3,4,5,6,7,8,9,10]
[{"$nulls":3},"UCLx",{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"},{"v":0.35096944444444444,"d":"0.3510"}]
[{"$nulls":3},"LCLx",{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"},{"v":-0.3480805555555556,"d":"-0.3481"}]
[{"$nulls":3},"UCLR",{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"},{"v":0.8797916666666669,"d":"0.8798"}]
[{"$nulls":3},"LCLR",{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"},{"v":0,"d":"0.0000"}]
[]
[]
[{"$nulls":4},"公差：",{"$nulls":3},"6σ",null,null,"pp","变差"]
[{"$nulls":4},"PV",{"v":1.1045955555555556,"d":"1.104596"},null,null,"PV",{"v":1.1045955555555556,"d":"1.104596"},null,{"v":1.1045955555555556,"d":"1.104596"},"PV",{"v":1.1045955555555556,"d":"1.104596"}]
[{"$nulls":4},"TV",{"v":0,"d":"0.000000"},null,null,"TV",{"v":0,"d":"0.000000"},null,{"$error":"#DIV/0!"},"TV",{"v":1.146134546852138,"d":"1.146135"},null,null,"基于公差base on parts spec"]
[null,null,"%EV",null,null,{"$error":"#DIV/0!"},{"$nulls":3},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},null,{"v":0.1761195203661443,"d":"17.61%"},null,null,"基于零件变差base on parts variation"]
[null,null,"%AV",null,null,{"$error":"#DIV/0!"},{"$nulls":3},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},null,{"v":0.20038400354826133,"d":"20.04%"},null,null,"基于过程变差base on process variation"]
[null,null,"%RR",null,null,{"$error":"#DIV/0!"},{"$nulls":3},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},null,{"v":0.26678049841026674,"d":"26.68%"},null,null,"基于过程能力Base on process PP"]
[null,null,"%PV",null,null,{"$error":"#DIV/0!"},{"$nulls":3},{"$error":"#DIV/0!"},null,{"$error":"#DIV/0!"},null,{"v":0.9637573167908868,"d":"96.38%"},null,null,"公式A Formula A"]
[{"$nulls":4},"ndc",5.093692472923481,{"$nulls":5},"",{"$nulls":4},"公式B Formula B"]
[{"$nulls":4},"X^2/nkr",{"v":0.00018777777777777234,"d":"0.0001878"},null,"sumSQ(sum(men))/nr",null,null,{"v":3.167449999999999,"d":"3.1674500"},"SUMSQ(sum(1-10part))/kr",null,null,{"v":88.36212222222223,"d":"88.3621222"}]
["极差图\nRange chart",null,"SUMSQ(sum(men-part))/r",{"$nulls":3},{"v":91.88836666666664,"d":"91.8883667"},null,"sumSQ(all)",null,{"v":94.64730000000004,"d":"94.6473000"},{"$nulls":3},"n=part  k=men r=time"]
[{"$nulls":3},"ANOVA Table With Operator*Part Interaction",{"$nulls":6},"ANOVA Table Without Operator*Part Interaction"]
[{"$nulls":3},"Source",null,"DF","SS","MS","F","P","Source",null,"DF","SS","MS","F","P"]
[{"$nulls":3},"Parts",null,9,{"v":88.36193444444444,"d":"88.36193"},{"v":9.817992716049382,"d":"9.81799"},{"v":492.2914226641134,"d":"492.29142"},{"v":1.1630639949251882e-19,"d":"0.00000"},"Parts",null,9,{"v":88.36193444444444,"d":"88.36193"},{"v":9.817992716049382,"d":"9.81799"},{"v":245.6139103855202,"d":"245.61391"},{"v":2.0210117945205427e-53,"d":"0.00000"}]
[{"$nulls":3},"Operators",null,2,{"v":3.1672622222222215,"d":"3.16726"},{"v":1.5836311111111108,"d":"1.58363"},{"v":79.40604920083321,"d":"79.40605"},{"v":1.1744776063403e-09,"d":"0.00000"},"Operators",null,2,{"v":3.1672622222222215,"d":"3.16726"},{"v":1.5836311111111108,"d":"1.58363"},{"v":39.61724570974002,"d":"39.61725"},{"v":4.950351456521379e-13,"d":"0.00000"}]
[{"$nulls":3},"Operators*Part",null,18,{"v":0.3589822222221942,"d":"0.35898"},{"v":0.0199434567901219,"d":"0.01994"},{"v":0.43372103013505847,"d":"0.43372"},{"v":0.9741064043290597,"d":"0.97411"}]
[{"$nulls":3},"Repeatability",null,60,{"v":2.7589333333334025,"d":"2.75893"},{"v":0.045982222222223375,"d":"0.04598"},null,null,"Repeatability",null,78,{"v":3.1179155555555966,"d":"3.11792"},{"v":0.03997327635327688,"d":"0.03997"}]
[{"$nulls":3},"Total",null,89,{"v":94.64711222222226,"d":"94.64711"},{"$nulls":3},"Total",null,89,{"v":94.64711222222226,"d":"94.64711"}]
[{"$nulls":3},"Gauge R&R With Operator*Part Interaction",{"$nulls":6},"Gauge R&R Without Operator*Part Interaction"]
[{"$nulls":3},"Source",null,"VarComp","Stdev","%Contribution","%TV","%Tolerance","Source",null,"VarComp","Stdev","%Contribution","%TV","%Tolerance"]
[{"$nulls":3},"Total Gauge R&R",null,{"v":0.098105144032923,"d":"0.09811"},{"v":0.3132174069762455,"d":"0.31322"},{"v":0.08266516840155927,"d":"8.27%"},{"v":0.2875155098452243,"d":"28.75%"},{"$error":"#DIV/0!"},"Total Gauge R&R",null,{"v":0.09142853751187134,"d":"0.09143"},{"v":0.3023715223229055,"d":"0.30237"},{"v":0.07762158675208986,"d":"7.76%"},{"v":0.27860650881142357,"d":"27.86%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"     Repeatability",null,{"v":0.045982222222223375,"d":"0.04598"},{"v":0.21443465723204208,"d":"0.21443"},{"v":0.03874545194289098,"d":"3.87%"},{"v":0.19683864443470186,"d":"19.68%"},{"$error":"#DIV/0!"},"     Repeatability",null,{"v":0.03997327635327688,"d":"0.03997"},{"v":0.19993317972081792,"d":"0.19993"},{"v":0.03393676878861011,"d":"3.39%"},{"v":0.18421934965852554,"d":"18.42%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"     Reproducibility",null,{"v":0.05212292181069963,"d":"0.05212"},{"v":0.22830444982676013,"d":"0.22830"},{"v":0.04391971645866829,"d":"4.39%"},{"v":0.20957031387739125,"d":"20.96%"},{"$error":"#DIV/0!"},"     Reproducibility",null,{"v":0.05145526115859446,"d":"0.05146"},{"v":0.22683752149632225,"d":"0.22684"},{"v":0.04368481796347975,"d":"4.37%"},{"v":0.20900913368434343,"d":"20.90%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"          Operator",null,{"v":0.05212292181069963,"d":"0.05212"},{"v":0.22830444982676013,"d":"0.22830"},{"v":0.04391971645866829,"d":"4.39%"},{"v":0.20957031387739125,"d":"20.96%"},{"$error":"#DIV/0!"},"          Operator",null,{"v":0.05145526115859446,"d":"0.05146"},{"v":0.22683752149632225,"d":"0.22684"},{"v":0.04368481796347975,"d":"4.37%"},{"v":0.20900913368434343,"d":"20.90%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"Operators*Part",null,{"v":0,"d":"0.00000"},{"v":0,"d":"0.00000"},{"v":0,"d":"0.00%"},{"v":0,"d":"0.00%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"Part - To - Part",null,{"v":1.0886721399176955,"d":"1.08867"},{"v":1.0433945274524377,"d":"1.04339"},{"v":0.9173348315984408,"d":"91.73%"},{"v":0.9577759819490363,"d":"95.78%"},{"$error":"#DIV/0!"},"Part - To - Part",null,{"v":1.0864466044106784,"d":"1.08645"},{"v":1.0423274938380347,"d":"1.04233"},{"v":0.9223784132479101,"d":"92.24%"},{"v":0.9604053379942814,"d":"96.04%"},{"$error":"#DIV/0!"}]
[{"$nulls":3},"Total Variation",null,{"v":1.1867772839506185,"d":"1.18678"},{"v":1.0893930805501835,"d":"1.08939"},{"v":1,"d":"100.00%"},{"v":1,"d":"100.00%"},{"$error":"#DIV/0!"},"Total Variation",null,{"v":1.1778751419225497,"d":"1.17788"},{"v":1.0852995632186304,"d":"1.08530"},{"v":1,"d":"100.00%"},{"v":1,"d":"100.00%"},{"$error":"#DIV/0!"}]
[]
[]
["      测量系统分析MSA  GR&R---均值极差法Average and method"]
[]
[{"$nulls":11},"报告编号Report NO.",{"$nulls":3},""]
[]
[]
["量具名称\nEquipment",{"$nulls":3},"",null,"产品类型\nDescription",null,"",null,"测量人员\nOperatorＡ",null,"",null,null,"测试日期\nTest Tate","00:00:00"]
[]
["量具编号\nEquipment NO.",{"$nulls":3},"",null,"基件编号\nPart NO.",null,"",null,"测量人员\nOperatorＢ",null,"",null,null,"平价人数\nAppraisers",3]
[]
["参数规格\nSpecification",{"$nulls":3},"",null,"规格上限\nUpper limit",null,"",null,"测量人员\nOperatorＣ",null,"",null,null,"试验次数\nTrials",3]
[]
["测量单位\nUnit",{"$nulls":3},"MM",null,"规格下限\nLower Limit ",null,"","过程变差/过程能力\nProcess Variation(σ/PP)",null,null,"",null,null,"样 品 数\nSamples",10]
[]
["Datasheet：",{"$nulls":4},{"v":0.34166666666666673,"d":"0.341667"},null,null,{"v":0.44466666666666654,"d":"0.444667"},null,null,{"v":3.511111111111111,"d":"3.511111"}]
[{"$nulls":11},"分析方式Analysis mode","基于零件变差base on parts variation"]
[null,"测量系统分析MSA",{"$nulls":9},"%  总变差Total variation（TV）"]
[null,"重复性Repeatability－设备变差Equipment Variation(EV)"]
[{"$nulls":12},"= ",{"v":0.1761195203661443,"d":"17.61%"}]
[null,"= ",{"v":0.2018566666666667,"d":"0.201857"},{"$nulls":6},"试验次数\nTrials","K1"]
[{"$nulls":9},2,0.8862]
[{"$nulls":9},3,0.5908]
[null,"再现性Reproducibility－評价人变差Appraiser Variation(AV)"]
[{"$nulls":12},"= ",{"v":0.20038400354826133,"d":"20.04%"}]
[null,"= ",{"v":0.22966702910320372,"d":"0.229667"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$nulls":4},"评价人数\nAppraisers","K2"]
[{"$nulls":9},2,0.7071]
[{"$nulls":9},3,0.5231]
[null,"重复性和再现性Repeatability and Reproducibility(R&R)"]
[{"$nulls":9},"零件数量\nPart QTY","K3",null,"= ",{"v":0.26678049841026674,"d":"26.68%"}]
[null,"= ",{"v":0.3057663456544386,"d":"0.305766"},{"$nulls":6},3,0.5231]
[{"$nulls":9},4,0.4467]
[{"$nulls":9},5,0.4043]
[null,"零件变差Parts Variation(PV)",{"$nulls":7},6,0.3742]
[{"$nulls":6},"公式A Formula A",null,null,7,0.3534,null,"= ",{"v":0.9637573167908868,"d":"96.38%"}]
[null,"= ",{"v":1.1045955555555556,"d":"1.104596"},{"$nulls":6},8,0.3375]
[{"$nulls":9},9,0.3249]
[{"$nulls":9},10,0.3146]
[null,"总变差Total Variation(TV)",{"$nulls":9},"有效分辨率Availability Resolution(NDC)=1.41*（PV/R&R）"]
[{"$nulls":7},"基于零件变差Base on parts variation",{"$nulls":4},"=",5]
[null,"=",{"v":1.146134546852138,"d":"1.146135"},{"$nulls":4},"基于过程变差Base on process variation"]
[{"$nulls":7},"基于零件公差Base on parts spec"]
[{"$nulls":7},"基于过程能力Base on process PP"]
[null,"判定标准Decide Criterion"]
["1)   0%<%R&R<10%：量测系统状况良好Excellent；",{"$nulls":10},"判定Decide",null,"可接收Accepted"]
["     10%≤%R&R≤30%：量测系统状况可以接收，但需改进Accepted but need improvement；"]
["     30%<%R&R<100%：量测系统必须改进Rejected and must be improved 。",{"$nulls":10},"",""]
["2)    数据分级数NDC经四舍五入取整后，必须大于或等于5 The NDC is truncated to the integer and ought to be greater than or equal to 5。"]
["分析评价措施\nAnalysis and action"]
[]
[]
[null,null,"分析人Analyst",{"$nulls":4},"日期Date"]
{"$rows_empty":30}
[{"$nulls":3},"          Operator",null,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},null,{"$error":"#REF!"}]
[]
[{"$nulls":3},"Part - To - Part",null,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},null,{"$error":"#REF!"}]
[{"$nulls":3},"Total Variation",null,{"$error":"#REF!"},{"$error":"#REF!"},{"$error":"#REF!"},null,{"$error":"#REF!"}]
[]
[]
["      测量系统分析MSA  GR&R---变差数分析法ANOVA method"]
[]
[{"$nulls":12},"报告编号Report NO.",null,null,""]
[]
[]
["量具名称\nEquipment",{"$nulls":3},"",null,"产品类型\nDescription",null,"",null,"测量人员\nOperatorＡ",null,"",null,null,"测试日期\nTest Tate","00:00:00"]
[]
["量具编号\nEquipment NO.",{"$nulls":3},"",null,"基件编号\nPart NO.",null,"",null,"测量人员\nOperatorＢ",null,"",null,null,"平价人数\nAppraisers",3]
[]
["参数规格\nSpecification",{"$nulls":3},"",null,"规格上限\nUpper limit",null,"",null,"测量人员\nOperatorＣ",null,"",null,null,"试验次数\nTrials",3]
[]
["测量单位\nUnit",{"$nulls":3},"MM",null,"规格下限\nLower Limit ",null,"","过程变差\nProcess Variation(6σ)",null,null,"",null,null,"样 品 数\nSamples",10]
[]
[]
[null,"方差分析表格\nANOVA Table ",null,null,"不包含without","操作员和零件的相互作用 Operator*Part Interaction"]
[null,"变差来源\nSource",{"$nulls":3},"自由DF\nDegree of freedom",null,"平方的总和SS\nSum of squares",null,"平均平方MS\nMean square",null,"F-比率\nF-ratio",null,"有效分辨率Availability Resolution(NDC)"]
[null,"零件Parts",{"$nulls":3},9,null,{"v":88.36193444444444,"d":"88.3619"},null,{"v":9.817992716049382,"d":"9.8180"},null,{"v":245.6139103855202,"d":"245.6139"}]
[null,"评价者Operators",{"$nulls":3},2,null,{"v":3.1672622222222215,"d":"3.1673"},null,{"v":1.5836311111111108,"d":"1.5836"},null,{"v":39.61724570974002,"d":"39.6172"}]
[null,"评价者和零件Operators*Part",{"$nulls":3},0,null,{"v":0,"d":"0.0000"},null,{"v":0,"d":"0.0000"},null,{"v":0,"d":"0.0000"}]
[null,"设备Equipment",{"$nulls":3},78,null,{"v":3.1179155555555966,"d":"3.1179"},null,{"v":0.03997327635327688,"d":"0.0400"},{"$nulls":3},{"v":4.860516476621569,"d":"4.86052"},"≈4"]
[null,"汇总Total",{"$nulls":3},89,null,{"v":94.64711222222226,"d":"94.6471"}]
[]
[null,"变差来源\nSource",{"$nulls":3},"变差估计值\nEstimate of vaiance",null,"标准偏差\nStdev",null,"%贡献率Contribution",null,"%总变差TV",null,"%公差Tolerance"]
[null,"系统Total Gauge R&R",{"$nulls":3},{"v":0.09142853751187134,"d":"0.0914"},null,{"v":0.3023715223229055,"d":"0.3024"},null,{"v":0.07762158675208986,"d":"7.76%"},null,{"v":0.27860650881142357,"d":"27.86%"},null,{"$error":"#DIV/0!"}]
[null,"重复性Repeatability",{"$nulls":3},{"v":0.03997327635327688,"d":"0.0400"},null,{"v":0.19993317972081792,"d":"0.1999"},null,{"v":0.03393676878861011,"d":"3.39%"},null,{"v":0.18421934965852554,"d":"18.42%"},null,{"$error":"#DIV/0!"}]
[null,"再现性Reproducibility",{"$nulls":3},{"v":0.05145526115859446,"d":"0.0515"},null,{"v":0.22683752149632225,"d":"0.2268"},null,{"v":0.04368481796347975,"d":"4.37%"},null,{"v":0.20900913368434343,"d":"20.90%"},null,{"$error":"#DIV/0!"}]
[null,"评价者Operator",{"$nulls":3},{"v":0.05145526115859446,"d":"0.0515"},null,{"v":0.22683752149632225,"d":"0.2268"},null,{"v":0.04368481796347975,"d":"4.37%"},null,{"v":0.20900913368434343,"d":"20.90%"},null,{"$error":"#DIV/0!"}]
[null,"相互作用InteractionINT=0",{"$nulls":3},0,null,0,null,0,null,0,null,0]
[null,"零件Part ",{"$nulls":3},{"v":1.0864466044106784,"d":"1.0864"},null,{"v":1.0423274938380347,"d":"1.0423"},null,{"v":0.9223784132479101,"d":"92.24%"},null,{"v":0.9604053379942814,"d":"96.04%"},null,{"$error":"#DIV/0!"}]
[null,"总变差Total Variation",{"$nulls":3},{"v":1.1778751419225497,"d":"1.1779"},null,{"v":1.0852995632186304,"d":"1.0853"},null,{"v":1,"d":"100.00%"},null,{"v":1,"d":"100.00%"},null,{"$error":"#DIV/0!"}]
[null,null,"Note: Refer to above tables because P value of operator*Part is greater than setting value"]
[]
[null,null,"人与零件相互作用分界 P值\nThe interaction between Operator and part boundaries P value is ",{"$nulls":7},0.25,null,"实际P值\nActual P Value",null,{"v":0.9741064043290597,"d":"0.974"}]
{"$rows_empty":12}
[{"$nulls":9},"基于零件变差\nBase on parts variation",{"$nulls":3},"%贡献率Contribution",null,"%总变差TV"]
[{"$nulls":13},{"v":0.07762158675208986,"d":"7.76%"},null,{"v":0.27860650881142357,"d":"27.86%"}]
[]
[{"$nulls":9},"基于公差\nBase on parts spec",{"$nulls":3},{"v":0.07762158675208986,"d":"7.76%"},null,{"$error":"#DIV/0!"}]
[]
[]
[]
[{"$nulls":13},"可接收Accepted"]
[{"$nulls":13},{"$error":"#DIV/0!"}]
[]
[]
["分析方法\nAnalysis method",{"$nulls":3},"基于零件变差Base on parts variation",{"$nulls":4},"结论\nResult","可接收Accepted"]
[]
["分析评价措施\nAnalysis and action"]
[]
[null,null,"分析人Analyst",{"$nulls":4},"日期Date"]