Record-ASIO vi

Recording via ASIO for multi-channel soundcard

Input:

Soundcard In (cluster): support multichannel recording up to max of soundcard input

recordDuration (double): total duration for record

recordChannels (int): quantity of recording channel

Ref Mic settings (cluster): Enable only if there are ref mic connected

Output:

recorded waveform (array waveform): recorded DUT waveform

recorded waveform (Ref Mic) (array waveform): Recorded Ref Mic waveform

Front Panel: