{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["GR&R VAR(Tol)","Graphical","Module1","Sheet1"],"not_rendered":{"charts":19,"macros":1,"external_links":1,"defined_names":2,"comments":3},"unopened":[{"sheet":"Module1","index":2,"reason":"not_a_worksheet"}],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"GR&R VAR(Tol)","index":0,"n_rows":42,"n_cols":24,"rows_kept":42,"merged":[[35,21,35,24]],"flags":["formulas_cached_only"]}
["GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET",{"$nulls":13},"GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET"]
["VARIABLE DATA RESULTS",{"$nulls":13},"VARIABLE DATA RESULTS"]
[]
["Part Number",{"$nulls":4},"Gage Name",{"$nulls":3},"Appraiser A",{"$nulls":4},"Part Number",null,null,"Gage Name",{"$nulls":3},"Appraiser A"]
[{"$nulls":17},"",{"$nulls":3},""]
["Part Name",{"$nulls":4},"Gage Number",{"$nulls":3},"Appraiser B",{"$nulls":4},"Part Name",null,null,"Gage Number",{"$nulls":3},"Appraiser B"]
[{"$nulls":17},"",{"$nulls":3},""]
["Characteristic",null,null,"Specification",null,"Gage Type",{"$nulls":3},"Appraiser C",{"$nulls":4},"Characteristic",null,null,"Gage Type",{"$nulls":3},"Appraiser C"]
[{"$nulls":3},3.7946842,4.6379473,{"$nulls":9},"",null,null,"",{"$nulls":3},""]
["Characteristic Classification",{"$nulls":4},"Trials",null,"Parts",null,"Appraisers",null,"Date Performed",null,null,"Characteristic Classification",null,null,"Trials",null,"Parts",null,"Appraisers",null,"Date Performed"]
[{"$nulls":5},3,null,10,null,3,{"$nulls":4},"",null,null,3,null,10,null,3,null,""]
[{"$nulls":4},"",""]
["APPRAISER/",null,"PART",{"$nulls":9},"AVERAGE",{"$nulls":4},"Measurement Unit Analysis",{"$nulls":3},"% Tolerance (Tol)"]
["TRIAL #",null,1,2,3,4,5,6,7,8,9,10,null,null,"  Repeatability - Equipment Variation (EV)"]
["1.  A",1,4.2606,4.2631,4.223,4.2245,4.273,4.2527,4.2594,4.3031,4.206,4.2519,null,{"v":4.25173,"d":"4.252"},"EV","=","R  x  K1",null,null,"Trials","K1","% EV","=","100 (EV/Tol)"]
[{"v":2,"d":"2."},2,4.2515,4.306,4.2806,4.2565,4.2827,4.3108,4.228,4.3214,4.2367,4.2889,null,{"v":4.27631,"d":"4.276"},null,"=","0.038 x 0.5907",null,null,2,0.8865,null,"=","100(0.022/0.141)"]
[{"v":3,"d":"3."},3,4.3071,4.3511,4.2373,4.2694,4.3208,4.2839,4.2609,4.3072,4.2691,4.293,null,{"v":4.28998,"d":"4.290"},null,"=",{"v":0.02219653700000005,"d":"0.022"},null,null,3,0.5907,null,"=",{"v":15.793317886197109,"d":"15.79"}]
[{"v":4,"d":"4."},"AVE",{"v":4.273066666666667,"d":"4.27"},{"v":4.306733333333333,"d":"4.31"},{"v":4.246966666666666,"d":"4.25"},{"v":4.250133333333333,"d":"4.25"},{"v":4.292166666666667,"d":"4.29"},{"v":4.282466666666667,"d":"4.28"},{"v":4.249433333333333,"d":"4.25"},{"v":4.310566666666666,"d":"4.31"},{"v":4.237266666666667,"d":"4.24"},{"v":4.277933333333333,"d":"4.28"},"xa=",{"v":4.272673333333334,"d":"4.273"},"  Reproducibility - Appraiser Variation (AV)"]
[{"v":5,"d":"5."},"R",{"v":0.055600000000000094,"d":"0.06"},{"v":0.08800000000000008,"d":"0.09"},{"v":0.057599999999999874,"d":"0.06"},{"v":0.04490000000000016,"d":"0.04"},{"v":0.04780000000000051,"d":"0.05"},{"v":0.058100000000000485,"d":"0.06"},{"v":0.032900000000000595,"d":"0.03"},{"v":0.018299999999999983,"d":"0.02"},{"v":0.06309999999999949,"d":"0.06"},{"v":0.041100000000000136,"d":"0.04"},"ra=",{"v":0.05074000000000014,"d":"0.051"},"AV","=","{(xDIFF x K2)2 - (EV2/nr)}1/2",{"$nulls":4},"% AV","=","100 (AV/Tol)"]
["6.  B",1,4.265,4.3065,4.2612,4.2515,4.2865,4.2866,4.2474,4.3123,4.2333,4.3063,null,{"v":4.27566,"d":"4.276"},null,"=","{(0.018 x 0.5236)^2 - (0.022 ^2/(10 x 3))}^1/2",{"$nulls":5},"=","100(0.009/0.141)"]
[{"v":7,"d":"7."},2,4.2691,4.3308,4.2864,4.2417,4.336,4.2977,4.2865,4.3317,4.2525,4.287,null,{"v":4.291939999999999,"d":"4.292"},null,"=",{"v":0.008638395463196377,"d":"0.009"},{"$nulls":5},"=",{"v":6.1464058820050615,"d":"6.15"}]
[{"v":8,"d":"8."},3,4.3106,4.3596,4.318,4.2948,4.3407,4.2964,4.2407,4.3295,4.2655,4.2951,null,{"v":4.30509,"d":"4.305"},{"$nulls":4},"Appraisers",2,3]
[{"v":9,"d":"9."},"AVE",{"v":4.2815666666666665,"d":"4.28"},{"v":4.3323,"d":"4.33"},{"v":4.288533333333333,"d":"4.29"},{"v":4.262666666666667,"d":"4.26"},{"v":4.321066666666667,"d":"4.32"},{"v":4.293566666666666,"d":"4.29"},{"v":4.2581999999999995,"d":"4.26"},{"v":4.3245,"d":"4.32"},{"v":4.2504333333333335,"d":"4.25"},{"v":4.296133333333333,"d":"4.30"},"xb=",{"v":4.290896666666667,"d":"4.291"},"           n = parts        r = trials",{"$nulls":3},"K2",0.7087,0.5236]
[{"v":10,"d":"10."},"R",{"v":0.04560000000000031,"d":"0.05"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.05679999999999996,"d":"0.06"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.054199999999999804,"d":"0.05"},{"v":0.011099999999999888,"d":"0.01"},{"v":0.04579999999999984,"d":"0.05"},{"v":0.019400000000000084,"d":"0.02"},{"v":0.03220000000000045,"d":"0.03"},{"v":0.019300000000000317,"d":"0.02"},"rb=",{"v":0.039060000000000185,"d":"0.039"},"  Repeatability & Reproducibility (GRR)",{"$nulls":6},"% GRR","=","100 (GRR/Tol)"]
["11.  C",1,4.2776,4.3112,4.2762,4.2584,4.2861,4.2695,4.2528,4.3366,4.2603,4.2926,null,{"v":4.28213,"d":"4.282"},"GRR","=","{(EV2 + AV2)}1/2",null,null,"Parts","K3",null,"=","100(0.024/0.141)"]
[{"v":12,"d":"12."},2,4.2775,4.33,4.2711,4.2558,4.302,4.2831,4.2481,4.3376,4.222,4.3237,null,{"v":4.28509,"d":"4.285"},null,"=","{(0.022^2 + 0.009^2)}^1/2",null,null,2,0.7087,null,"=",{"v":16.947188413445456,"d":"16.95"}]
[{"v":13,"d":"13."},3,4.2707,4.3312,4.2908,4.2702,4.3139,4.2806,4.2848,4.3357,4.2622,4.3407,null,{"v":4.298080000000001,"d":"4.298"},null,"=",{"v":0.02381823106301018,"d":"0.024"},null,null,3,0.5236,"Gage system may be acceptable"]
[{"v":14,"d":"14."},"AVE",{"v":4.275266666666666,"d":"4.28"},{"v":4.324133333333333,"d":"4.32"},{"v":4.279366666666667,"d":"4.28"},{"v":4.261466666666666,"d":"4.26"},{"v":4.300666666666667,"d":"4.30"},{"v":4.277733333333333,"d":"4.28"},{"v":4.2619,"d":"4.26"},{"v":4.3366333333333325,"d":"4.34"},{"v":4.248166666666667,"d":"4.25"},{"v":4.319,"d":"4.32"},"xc=",{"v":4.288433333333335,"d":"4.288"},"  Part Variation (PV)",{"$nulls":4},4,0.4464]
[{"v":15,"d":"15."},"R",{"v":0.006899999999999906,"d":"0.01"},{"v":0.019999999999999574,"d":"0.02"},{"v":0.019700000000000273,"d":"0.02"},{"v":0.01440000000000019,"d":"0.01"},{"v":0.027800000000000047,"d":"0.03"},{"v":0.013600000000000279,"d":"0.01"},{"v":0.03669999999999973,"d":"0.04"},{"v":0.0019000000000000128,"d":"0.00"},{"v":0.04019999999999957,"d":"0.04"},{"v":0.04809999999999981,"d":"0.05"},"rc=",{"v":0.02292999999999994,"d":"0.023"},"PV","=","RP x K3",null,null,5,0.4032,"% PV","=","100 (PV/Tol)"]
["16. PART ",{"$nulls":11},"X=",{"v":4.284001111111111,"d":"4.284"},null,"=","0.079 x 0.3145",null,null,6,0.3745,null,"=","100(0.025/0.141)"]
["   AVERAGE",null,{"v":4.276633333333333,"d":"4.28"},{"v":4.321055555555556,"d":"4.32"},{"v":4.271622222222223,"d":"4.27"},{"v":4.258088888888889,"d":"4.26"},{"v":4.304633333333334,"d":"4.30"},{"v":4.284588888888888,"d":"4.28"},{"v":4.25651111111111,"d":"4.26"},{"v":4.323899999999999,"d":"4.32"},{"v":4.245288888888889,"d":"4.25"},{"v":4.297688888888889,"d":"4.30"},"Rp=",{"v":0.07861111111111008,"d":"0.079"},null,"=",{"v":0.02472319444444412,"d":"0.025"},null,null,7,0.3534,null,"=",{"v":17.591089502987217,"d":"17.59"}]
[{"v":17,"d":"17."},"(ra + rb + rc) / (# OF APPRAISERS) =",{"$nulls":10},"R=",{"v":0.03757666666666675,"d":"0.038"},"  Tolerance (Tol)",{"$nulls":4},8,0.3378]
[{"v":18,"d":"18."},"xDIFF = (Max x - Min x) =",{"$nulls":10},"xDIFF=",{"v":0.01822333333333237,"d":"0.018"},"Tol","=","Upper - Lower / 6",null,null,9,0.3247,"ndc","=","1.41(PV/GRR)"]
[{"v":19,"d":"19."},"* UCLR = R x D4 =",null,null,"",null,"","","","",null,null,"UCLR=",{"v":0.09694780000000022,"d":"0.097"},null,"=","( 4.6379473 - 3.7946842 ) / 6",null,null,10,0.3145,null,"=","1.41(0.025/0.024)"]
[{"$nulls":15},"=",{"v":0.1405438500000001,"d":"0.141"},{"$nulls":5},"=",1]
["* D4 =3.27 for 2 trials and 2.58 for 3 trials.  UCLR represents the limit of individual R's.  Circle those that are",{"$nulls":20},"Gage discrimination low"]
["beyond this limit.  Identify the cause and correct.  Repeat these readings using the same appraiser and unit as originally used or"]
["discard values and re-average and recompute R and the limiting value from the remaining observations.",{"$nulls":13},"   For information on the theory and constants used in the form see MSA Reference Manual, Third edition."]
[]
["Notes:"]
[]
[{"$nulls":17},3.7946842,4.6379473]

{"sheet":"Graphical","index":1,"n_rows":458,"n_cols":61,"rows_kept":458,"flags":["formulas_cached_only"]}
["GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET"]
["GRAPHICAL ANALYSIS"]
[]
["Part Number",{"$nulls":4},"Gage Name",{"$nulls":3},"Appraiser A"]
[{"$error":"#REF!"}]
["Part Name",{"$nulls":4},"Gage Number",{"$nulls":3},"Appraiser B"]
[{"$error":"#REF!"}]
["Characteristic",null,null,"Specification",null,"Gage Type",{"$nulls":3},"Appraiser C"]
[{"$nulls":3},"Lower","Upper"]
["Characteristic Classification",{"$nulls":4},"Trials",null,"Parts",null,"Appraisers",null,"Date Performed"]
[{"$nulls":5},3,null,10,null,3]
[{"$nulls":4},"",""]
["APPRAISER/",null,"PART",{"$nulls":9},"AVERAGE"]
["TRIAL #",null,1,2,3,4,5,6,7,8,9,10]
["1.  A",1,{"v":4.2606,"d":"4.26"},{"v":4.2631,"d":"4.26"},{"v":4.223,"d":"4.22"},{"v":4.2245,"d":"4.22"},{"v":4.273,"d":"4.27"},{"v":4.2527,"d":"4.25"},{"v":4.2594,"d":"4.26"},{"v":4.3031,"d":"4.30"},{"v":4.206,"d":"4.21"},{"v":4.2519,"d":"4.25"},null,{"v":4.25173,"d":"4.252"}]
[{"v":2,"d":"2."},2,{"v":4.2515,"d":"4.25"},{"v":4.306,"d":"4.31"},{"v":4.2806,"d":"4.28"},{"v":4.2565,"d":"4.26"},{"v":4.2827,"d":"4.28"},{"v":4.3108,"d":"4.31"},{"v":4.228,"d":"4.23"},{"v":4.3214,"d":"4.32"},{"v":4.2367,"d":"4.24"},{"v":4.2889,"d":"4.29"},null,{"v":4.27631,"d":"4.276"}]
[{"v":3,"d":"3."},3,{"v":4.3071,"d":"4.31"},{"v":4.3511,"d":"4.35"},{"v":4.2373,"d":"4.24"},{"v":4.2694,"d":"4.27"},{"v":4.3208,"d":"4.32"},{"v":4.2839,"d":"4.28"},{"v":4.2609,"d":"4.26"},{"v":4.3072,"d":"4.31"},{"v":4.2691,"d":"4.27"},{"v":4.293,"d":"4.29"},null,{"v":4.28998,"d":"4.290"}]
[{"v":4,"d":"4."},"AVE",{"v":4.273066666666667,"d":"4.27"},{"v":4.306733333333333,"d":"4.31"},{"v":4.246966666666666,"d":"4.25"},{"v":4.250133333333333,"d":"4.25"},{"v":4.292166666666667,"d":"4.29"},{"v":4.282466666666667,"d":"4.28"},{"v":4.249433333333333,"d":"4.25"},{"v":4.310566666666666,"d":"4.31"},{"v":4.237266666666667,"d":"4.24"},{"v":4.277933333333333,"d":"4.28"},"xa=",{"v":4.272673333333334,"d":"4.273"}]
[{"v":5,"d":"5."},"R",{"v":0.055600000000000094,"d":"0.06"},{"v":0.08800000000000008,"d":"0.09"},{"v":0.057599999999999874,"d":"0.06"},{"v":0.04490000000000016,"d":"0.04"},{"v":0.04780000000000051,"d":"0.05"},{"v":0.058100000000000485,"d":"0.06"},{"v":0.032900000000000595,"d":"0.03"},{"v":0.018299999999999983,"d":"0.02"},{"v":0.06309999999999949,"d":"0.06"},{"v":0.041100000000000136,"d":"0.04"},"ra=",{"v":0.05074000000000014,"d":"0.051"}]
["6.  B",1,{"v":4.265,"d":"4.27"},{"v":4.3065,"d":"4.31"},{"v":4.2612,"d":"4.26"},{"v":4.2515,"d":"4.25"},{"v":4.2865,"d":"4.29"},{"v":4.2866,"d":"4.29"},{"v":4.2474,"d":"4.25"},{"v":4.3123,"d":"4.31"},{"v":4.2333,"d":"4.23"},{"v":4.3063,"d":"4.31"},null,{"v":4.27566,"d":"4.276"}]
[{"v":7,"d":"7."},2,{"v":4.2691,"d":"4.27"},{"v":4.3308,"d":"4.33"},{"v":4.2864,"d":"4.29"},{"v":4.2417,"d":"4.24"},{"v":4.336,"d":"4.34"},{"v":4.2977,"d":"4.30"},{"v":4.2865,"d":"4.29"},{"v":4.3317,"d":"4.33"},{"v":4.2525,"d":"4.25"},{"v":4.287,"d":"4.29"},null,{"v":4.291939999999999,"d":"4.292"}]
[{"v":8,"d":"8."},3,{"v":4.3106,"d":"4.31"},{"v":4.3596,"d":"4.36"},{"v":4.318,"d":"4.32"},{"v":4.2948,"d":"4.29"},{"v":4.3407,"d":"4.34"},{"v":4.2964,"d":"4.30"},{"v":4.2407,"d":"4.24"},{"v":4.3295,"d":"4.33"},{"v":4.2655,"d":"4.27"},{"v":4.2951,"d":"4.30"},null,{"v":4.30509,"d":"4.305"}]
[{"v":9,"d":"9."},"AVE",{"v":4.2815666666666665,"d":"4.28"},{"v":4.3323,"d":"4.33"},{"v":4.288533333333333,"d":"4.29"},{"v":4.262666666666667,"d":"4.26"},{"v":4.321066666666667,"d":"4.32"},{"v":4.293566666666666,"d":"4.29"},{"v":4.2581999999999995,"d":"4.26"},{"v":4.3245,"d":"4.32"},{"v":4.2504333333333335,"d":"4.25"},{"v":4.296133333333333,"d":"4.30"},"xb=",{"v":4.290896666666667,"d":"4.291"}]
[{"v":10,"d":"10."},"R",{"v":0.04560000000000031,"d":"0.05"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.05679999999999996,"d":"0.06"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.054199999999999804,"d":"0.05"},{"v":0.011099999999999888,"d":"0.01"},{"v":0.04579999999999984,"d":"0.05"},{"v":0.019400000000000084,"d":"0.02"},{"v":0.03220000000000045,"d":"0.03"},{"v":0.019300000000000317,"d":"0.02"},"rb=",{"v":0.039060000000000185,"d":"0.039"}]
["11.  C",1,{"v":4.2776,"d":"4.28"},{"v":4.3112,"d":"4.31"},{"v":4.2762,"d":"4.28"},{"v":4.2584,"d":"4.26"},{"v":4.2861,"d":"4.29"},{"v":4.2695,"d":"4.27"},{"v":4.2528,"d":"4.25"},{"v":4.3366,"d":"4.34"},{"v":4.2603,"d":"4.26"},{"v":4.2926,"d":"4.29"},null,{"v":4.28213,"d":"4.282"}]
[{"v":12,"d":"12."},2,{"v":4.2775,"d":"4.28"},4.33,{"v":4.2711,"d":"4.27"},{"v":4.2558,"d":"4.26"},{"v":4.302,"d":"4.30"},{"v":4.2831,"d":"4.28"},{"v":4.2481,"d":"4.25"},{"v":4.3376,"d":"4.34"},{"v":4.222,"d":"4.22"},{"v":4.3237,"d":"4.32"},null,{"v":4.28509,"d":"4.285"}]
[{"v":13,"d":"13."},3,{"v":4.2707,"d":"4.27"},{"v":4.3312,"d":"4.33"},{"v":4.2908,"d":"4.29"},{"v":4.2702,"d":"4.27"},{"v":4.3139,"d":"4.31"},{"v":4.2806,"d":"4.28"},{"v":4.2848,"d":"4.28"},{"v":4.3357,"d":"4.34"},{"v":4.2622,"d":"4.26"},{"v":4.3407,"d":"4.34"},null,{"v":4.298080000000001,"d":"4.298"}]
[{"v":14,"d":"14."},"AVE",{"v":4.275266666666666,"d":"4.28"},{"v":4.324133333333333,"d":"4.32"},{"v":4.279366666666667,"d":"4.28"},{"v":4.261466666666666,"d":"4.26"},{"v":4.300666666666667,"d":"4.30"},{"v":4.277733333333333,"d":"4.28"},{"v":4.2619,"d":"4.26"},{"v":4.3366333333333325,"d":"4.34"},{"v":4.248166666666667,"d":"4.25"},{"v":4.319,"d":"4.32"},"xc=",{"v":4.288433333333335,"d":"4.288"}]
[{"v":15,"d":"15."},"R",{"v":0.006899999999999906,"d":"0.01"},{"v":0.019999999999999574,"d":"0.02"},{"v":0.019700000000000273,"d":"0.02"},{"v":0.01440000000000019,"d":"0.01"},{"v":0.027800000000000047,"d":"0.03"},{"v":0.013600000000000279,"d":"0.01"},{"v":0.03669999999999973,"d":"0.04"},{"v":0.0019000000000000128,"d":"0.00"},{"v":0.04019999999999957,"d":"0.04"},{"v":0.04809999999999981,"d":"0.05"},"rc=",{"v":0.02292999999999994,"d":"0.023"}]
["16. PART ",{"$nulls":11},"X=",{"v":4.284001111111111,"d":"4.284"}]
["     AVE ( Xp )",null,{"v":4.276633333333333,"d":"4.28"},{"v":4.321055555555556,"d":"4.32"},{"v":4.271622222222223,"d":"4.27"},{"v":4.258088888888889,"d":"4.26"},{"v":4.304633333333334,"d":"4.30"},{"v":4.284588888888888,"d":"4.28"},{"v":4.25651111111111,"d":"4.26"},{"v":4.323899999999999,"d":"4.32"},{"v":4.245288888888889,"d":"4.25"},{"v":4.297688888888889,"d":"4.30"},"Rp=",{"v":0.07861111111111008,"d":"0.079"}]
[]
[]
["Note:","The REFERENCE VALUE can be substituted for PART AVE to generate graphs indication true bias."]
{"$rows_empty":18}
[{"$nulls":15},"Supporting line"]
[{"$nulls":16},1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Upper Spec","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"Lower Spec","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"Rucl",{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"}]
{"$rows_empty":10}
[null,"Analysis:"]
{"$rows_empty":21}
[null,"Analysis:"]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":16},"Appr A",{"$nulls":9},"Appr B",{"$nulls":9},"Appr C"]
[{"$nulls":16},1,2,3,4,5,6,7,8,9,10,1,2,3,4,5,6,7,8,9,10,1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Mean",{"v":4.273066666666667,"d":"4.27"},{"v":4.306733333333333,"d":"4.31"},{"v":4.246966666666666,"d":"4.25"},{"v":4.250133333333333,"d":"4.25"},{"v":4.292166666666667,"d":"4.29"},{"v":4.282466666666667,"d":"4.28"},{"v":4.249433333333333,"d":"4.25"},{"v":4.310566666666666,"d":"4.31"},{"v":4.237266666666667,"d":"4.24"},{"v":4.277933333333333,"d":"4.28"},{"v":4.2815666666666665,"d":"4.28"},{"v":4.3323,"d":"4.33"},{"v":4.288533333333333,"d":"4.29"},{"v":4.262666666666667,"d":"4.26"},{"v":4.321066666666667,"d":"4.32"},{"v":4.293566666666666,"d":"4.29"},{"v":4.2581999999999995,"d":"4.26"},{"v":4.3245,"d":"4.32"},{"v":4.2504333333333335,"d":"4.25"},{"v":4.296133333333333,"d":"4.30"},{"v":4.275266666666666,"d":"4.28"},{"v":4.324133333333333,"d":"4.32"},{"v":4.279366666666667,"d":"4.28"},{"v":4.261466666666666,"d":"4.26"},{"v":4.300666666666667,"d":"4.30"},{"v":4.277733333333333,"d":"4.28"},{"v":4.2619,"d":"4.26"},{"v":4.3366333333333325,"d":"4.34"},{"v":4.248166666666667,"d":"4.25"},{"v":4.319,"d":"4.32"}]
[{"$nulls":15},"Range",{"v":0.055600000000000094,"d":"0.06"},{"v":0.08800000000000008,"d":"0.09"},{"v":0.057599999999999874,"d":"0.06"},{"v":0.04490000000000016,"d":"0.04"},{"v":0.04780000000000051,"d":"0.05"},{"v":0.058100000000000485,"d":"0.06"},{"v":0.032900000000000595,"d":"0.03"},{"v":0.018299999999999983,"d":"0.02"},{"v":0.06309999999999949,"d":"0.06"},{"v":0.041100000000000136,"d":"0.04"},{"v":0.04560000000000031,"d":"0.05"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.05679999999999996,"d":"0.06"},{"v":0.05310000000000059,"d":"0.05"},{"v":0.054199999999999804,"d":"0.05"},{"v":0.011099999999999888,"d":"0.01"},{"v":0.04579999999999984,"d":"0.05"},{"v":0.019400000000000084,"d":"0.02"},{"v":0.03220000000000045,"d":"0.03"},{"v":0.019300000000000317,"d":"0.02"},{"v":0.006899999999999906,"d":"0.01"},{"v":0.019999999999999574,"d":"0.02"},{"v":0.019700000000000273,"d":"0.02"},{"v":0.01440000000000019,"d":"0.01"},{"v":0.027800000000000047,"d":"0.03"},{"v":0.013600000000000279,"d":"0.01"},{"v":0.03669999999999973,"d":"0.04"},{"v":0.0019000000000000128,"d":"0.00"},{"v":0.04019999999999957,"d":"0.04"},{"v":0.04809999999999981,"d":"0.05"}]
[{"$nulls":15},"UCL B",{"$nulls":10},"Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"LCL B",{"$nulls":10},"Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"UCL C",{"$nulls":20},"Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"LCL C",{"$nulls":20},"Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"Rucl B",{"$nulls":10},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"}]
[{"$nulls":15},"Rucl C",{"$nulls":20},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"},{"v":0.09694780000000024,"d":"0.097"}]
[]
[]
[]
[]
[]
[]
[null,"Analysis:"]
{"$rows_empty":21}
[null,"Analysis:"]
{"$rows_empty":29}
[null,"Analysis:"]
{"$rows_empty":14}
[{"$nulls":15},"Supporting Data"]
[{"$nulls":20},"Part 1",{"$nulls":8},"Part 2",{"$nulls":8},"Part 3",{"$nulls":8},"Part 4",{"$nulls":8},"Part 5"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",{"v":4.2606,"d":"4.26"},{"v":4.2515,"d":"4.25"},{"v":4.3071,"d":"4.31"},{"$nulls":6},{"v":4.2631,"d":"4.26"},{"v":4.306,"d":"4.31"},{"v":4.3511,"d":"4.35"},{"$nulls":6},{"v":4.223,"d":"4.22"},{"v":4.2806,"d":"4.28"},{"v":4.2373,"d":"4.24"},{"$nulls":6},{"v":4.2245,"d":"4.22"},{"v":4.2565,"d":"4.26"},{"v":4.2694,"d":"4.27"},{"$nulls":6},{"v":4.273,"d":"4.27"},{"v":4.2827,"d":"4.28"},{"v":4.3208,"d":"4.32"}]
[{"$nulls":15},"B Value",{"$nulls":3},{"v":4.265,"d":"4.27"},{"v":4.2691,"d":"4.27"},{"v":4.3106,"d":"4.31"},{"$nulls":6},{"v":4.3065,"d":"4.31"},{"v":4.3308,"d":"4.33"},{"v":4.3596,"d":"4.36"},{"$nulls":6},{"v":4.2612,"d":"4.26"},{"v":4.2864,"d":"4.29"},{"v":4.318,"d":"4.32"},{"$nulls":6},{"v":4.2515,"d":"4.25"},{"v":4.2417,"d":"4.24"},{"v":4.2948,"d":"4.29"},{"$nulls":6},{"v":4.2865,"d":"4.29"},{"v":4.336,"d":"4.34"},{"v":4.3407,"d":"4.34"}]
[{"$nulls":15},"C Value",{"$nulls":6},{"v":4.2776,"d":"4.28"},{"v":4.2775,"d":"4.28"},{"v":4.2707,"d":"4.27"},{"$nulls":6},{"v":4.3112,"d":"4.31"},4.33,{"v":4.3312,"d":"4.33"},{"$nulls":6},{"v":4.2762,"d":"4.28"},{"v":4.2711,"d":"4.27"},{"v":4.2908,"d":"4.29"},{"$nulls":6},{"v":4.2584,"d":"4.26"},{"v":4.2558,"d":"4.26"},{"v":4.2702,"d":"4.27"},{"$nulls":6},{"v":4.2861,"d":"4.29"},{"v":4.302,"d":"4.30"},{"v":4.3139,"d":"4.31"}]
[]
[{"$nulls":20},"Part 6",{"$nulls":8},"Part 7",{"$nulls":8},"Part 8",{"$nulls":8},"Part 9",{"$nulls":8},"Part 10"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",{"v":4.2527,"d":"4.25"},{"v":4.3108,"d":"4.31"},{"v":4.2839,"d":"4.28"},{"$nulls":6},{"v":4.2594,"d":"4.26"},{"v":4.228,"d":"4.23"},{"v":4.2609,"d":"4.26"},{"$nulls":6},{"v":4.3031,"d":"4.30"},{"v":4.3214,"d":"4.32"},{"v":4.3072,"d":"4.31"},{"$nulls":6},{"v":4.206,"d":"4.21"},{"v":4.2367,"d":"4.24"},{"v":4.2691,"d":"4.27"},{"$nulls":6},{"v":4.2519,"d":"4.25"},{"v":4.2889,"d":"4.29"},{"v":4.293,"d":"4.29"}]
[{"$nulls":15},"B Value",{"$nulls":3},{"v":4.2866,"d":"4.29"},{"v":4.2977,"d":"4.30"},{"v":4.2964,"d":"4.30"},{"$nulls":6},{"v":4.2474,"d":"4.25"},{"v":4.2865,"d":"4.29"},{"v":4.2407,"d":"4.24"},{"$nulls":6},{"v":4.3123,"d":"4.31"},{"v":4.3317,"d":"4.33"},{"v":4.3295,"d":"4.33"},{"$nulls":6},{"v":4.2333,"d":"4.23"},{"v":4.2525,"d":"4.25"},{"v":4.2655,"d":"4.27"},{"$nulls":6},{"v":4.3063,"d":"4.31"},{"v":4.287,"d":"4.29"},{"v":4.2951,"d":"4.30"}]
[{"$nulls":15},"C Value",{"$nulls":6},{"v":4.2695,"d":"4.27"},{"v":4.2831,"d":"4.28"},{"v":4.2806,"d":"4.28"},{"$nulls":6},{"v":4.2528,"d":"4.25"},{"v":4.2481,"d":"4.25"},{"v":4.2848,"d":"4.28"},{"$nulls":6},{"v":4.3366,"d":"4.34"},{"v":4.3376,"d":"4.34"},{"v":4.3357,"d":"4.34"},{"$nulls":6},{"v":4.2603,"d":"4.26"},{"v":4.222,"d":"4.22"},{"v":4.2622,"d":"4.26"},{"$nulls":6},{"v":4.2926,"d":"4.29"},{"v":4.3237,"d":"4.32"},{"v":4.3407,"d":"4.34"}]
{"$rows_empty":26}
[null,"Analysis:"]
[]
[]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":17},1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Appr A","Max",{"v":4.3071,"d":"4.31"},{"v":4.3511,"d":"4.35"},{"v":4.2806,"d":"4.28"},{"v":4.2694,"d":"4.27"},{"v":4.3208,"d":"4.32"},{"v":4.3108,"d":"4.31"},{"v":4.2609,"d":"4.26"},{"v":4.3214,"d":"4.32"},{"v":4.2691,"d":"4.27"},{"v":4.293,"d":"4.29"}]
[{"$nulls":16},"+",{"v":0.03403333333333336,"d":"0.03"},{"v":0.04436666666666689,"d":"0.04"},{"v":0.033633333333333404,"d":"0.03"},{"v":0.019266666666666765,"d":"0.02"},{"v":0.02863333333333351,"d":"0.03"},{"v":0.02833333333333332,"d":"0.03"},{"v":0.01146666666666718,"d":"0.01"},{"v":0.01083333333333325,"d":"0.01"},{"v":0.03183333333333316,"d":"0.03"},{"v":0.015066666666666784,"d":"0.02"}]
[{"$nulls":16},"Min",{"v":4.2515,"d":"4.25"},{"v":4.2631,"d":"4.26"},{"v":4.223,"d":"4.22"},{"v":4.2245,"d":"4.22"},{"v":4.273,"d":"4.27"},{"v":4.2527,"d":"4.25"},{"v":4.228,"d":"4.23"},{"v":4.3031,"d":"4.30"},{"v":4.206,"d":"4.21"},{"v":4.2519,"d":"4.25"}]
[{"$nulls":16},"-",{"v":0.021566666666666734,"d":"0.02"},{"v":0.04363333333333319,"d":"0.04"},{"v":0.02396666666666647,"d":"0.02"},{"v":0.025633333333333397,"d":"0.03"},{"v":0.019166666666666998,"d":"0.02"},{"v":0.029766666666667163,"d":"0.03"},{"v":0.021433333333333415,"d":"0.02"},{"v":0.0074666666666667325,"d":"0.01"},{"v":0.03126666666666633,"d":"0.03"},{"v":0.026033333333333353,"d":"0.03"}]
[{"$nulls":15},"Appr B","Max",{"v":4.3106,"d":"4.31"},{"v":4.3596,"d":"4.36"},{"v":4.318,"d":"4.32"},{"v":4.2948,"d":"4.29"},{"v":4.3407,"d":"4.34"},{"v":4.2977,"d":"4.30"},{"v":4.2865,"d":"4.29"},{"v":4.3317,"d":"4.33"},{"v":4.2655,"d":"4.27"},{"v":4.3063,"d":"4.31"}]
[{"$nulls":16},"+",{"v":0.029033333333333466,"d":"0.03"},{"v":0.027300000000000324,"d":"0.03"},{"v":0.029466666666666974,"d":"0.03"},{"v":0.03213333333333335,"d":"0.03"},{"v":0.01963333333333317,"d":"0.02"},{"v":0.004133333333333766,"d":"0.00"},{"v":0.028300000000000658,"d":"0.03"},{"v":0.007200000000000095,"d":"0.01"},{"v":0.015066666666666784,"d":"0.02"},{"v":0.010166666666667545,"d":"0.01"}]
[{"$nulls":16},"Min",{"v":4.265,"d":"4.27"},{"v":4.3065,"d":"4.31"},{"v":4.2612,"d":"4.26"},{"v":4.2417,"d":"4.24"},{"v":4.2865,"d":"4.29"},{"v":4.2866,"d":"4.29"},{"v":4.2407,"d":"4.24"},{"v":4.3123,"d":"4.31"},{"v":4.2333,"d":"4.23"},{"v":4.287,"d":"4.29"}]
[{"$nulls":16},"-",{"v":0.01656666666666684,"d":"0.02"},{"v":0.025800000000000267,"d":"0.03"},{"v":0.027333333333332988,"d":"0.03"},{"v":0.020966666666667244,"d":"0.02"},{"v":0.034566666666666634,"d":"0.03"},{"v":0.0069666666666661214,"d":"0.01"},{"v":0.017499999999999183,"d":"0.02"},{"v":0.012199999999999989,"d":"0.01"},{"v":0.017133333333333667,"d":"0.02"},{"v":0.009133333333332772,"d":"0.01"}]
[{"$nulls":15},"Appr C","Max",{"v":4.2776,"d":"4.28"},{"v":4.3312,"d":"4.33"},{"v":4.2908,"d":"4.29"},{"v":4.2702,"d":"4.27"},{"v":4.3139,"d":"4.31"},{"v":4.2831,"d":"4.28"},{"v":4.2848,"d":"4.28"},{"v":4.3376,"d":"4.34"},{"v":4.2622,"d":"4.26"},{"v":4.3407,"d":"4.34"}]
[{"$nulls":16},"+",{"v":0.0023333333333335204,"d":"0.00"},{"v":0.0070666666666667766,"d":"0.01"},{"v":0.01143333333333274,"d":"0.01"},{"v":0.008733333333333704,"d":"0.01"},{"v":0.013233333333332986,"d":"0.01"},{"v":0.005366666666667186,"d":"0.01"},{"v":0.02289999999999992,"d":"0.02"},{"v":0.0009666666666676704,"d":"0.00"},{"v":0.014033333333332898,"d":"0.01"},{"v":0.021700000000000053,"d":"0.02"}]
[{"$nulls":16},"Min",{"v":4.2707,"d":"4.27"},{"v":4.3112,"d":"4.31"},{"v":4.2711,"d":"4.27"},{"v":4.2558,"d":"4.26"},{"v":4.2861,"d":"4.29"},{"v":4.2695,"d":"4.27"},{"v":4.2481,"d":"4.25"},{"v":4.3357,"d":"4.34"},{"v":4.222,"d":"4.22"},{"v":4.2926,"d":"4.29"}]
[{"$nulls":16},"-",{"v":0.004566666666666386,"d":"0.00"},{"v":0.012933333333332797,"d":"0.01"},{"v":0.008266666666667533,"d":"0.01"},{"v":0.005666666666666487,"d":"0.01"},{"v":0.01456666666666706,"d":"0.01"},{"v":0.008233333333333093,"d":"0.01"},{"v":0.013799999999999812,"d":"0.01"},{"v":0.0009333333333323424,"d":"0.00"},{"v":0.02616666666666667,"d":"0.03"},{"v":0.026399999999999757,"d":"0.03"}]
{"$rows_empty":25}
[null,"Analysis:"]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":20},"Part 1",{"$nulls":8},"Part 2",{"$nulls":8},"Part 3",{"$nulls":8},"Part 4",{"$nulls":8},"Part 5"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",-0.016033333333332678,-0.025133333333332786,0.030466666666667308,{"$nulls":6},-0.05795555555555598,-0.0150555555555556,0.030044444444444096,{"$nulls":6},-0.04862222222222279,0.008977777777777085,-0.034322222222222365,{"$nulls":6},-0.03358888888888867,-0.0015888888888886399,0.011311111111111494,{"$nulls":6},-0.03163333333333451,-0.021933333333334026,0.016166666666665996]
[{"$nulls":15},"B Value",{"$nulls":3},-0.011633333333333162,-0.007533333333332948,0.033966666666667145,{"$nulls":6},-0.014555555555555877,0.009744444444444333,0.038544444444444714,{"$nulls":6},-0.010422222222222999,0.014777777777777779,0.04637777777777696,{"$nulls":6},-0.006588888888888533,-0.016388888888888786,0.036711111111111805,{"$nulls":6},-0.018133333333334,0.0313666666666661,0.0360666666666658]
[{"$nulls":15},"C Value",{"$nulls":6},0.0009666666666667822,0.0008666666666670153,-0.005933333333333124,{"$nulls":6},-0.009855555555555284,0.008944444444444422,0.01014444444444429,{"$nulls":6},0.00457777777777757,-0.0005222222222229789,0.019177777777777294,{"$nulls":6},0.0003111111111113729,-0.002288888888888785,0.012111111111111406,{"$nulls":6},-0.018533333333333957,-0.0026333333333345976,0.00926666666666609]
[]
[{"$nulls":20},"Part 6",{"$nulls":8},"Part 7",{"$nulls":8},"Part 8",{"$nulls":8},"Part 9",{"$nulls":8},"Part 10"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",-0.03188888888888819,0.026211111111112295,-0.0006888888888880729,{"$nulls":6},0.002888888888890051,-0.028511111111110488,0.004388888888890108,{"$nulls":6},-0.020799999999999486,-0.0024999999999995026,-0.01669999999999927,{"$nulls":6},-0.03928888888888871,-0.008588888888889201,0.023811111111110783,{"$nulls":6},-0.04578888888888866,-0.008788888888888735,-0.0046888888888885205]
[{"$nulls":15},"B Value",{"$nulls":3},0.002011111111111852,0.01311111111111174,0.011811111111112105,{"$nulls":6},-0.009111111111110404,0.029988888888889953,-0.015811111111109888,{"$nulls":6},-0.01159999999999961,0.007800000000000473,0.00560000000000116,{"$nulls":6},-0.01198888888888927,0.007211111111111279,0.02021111111111118,{"$nulls":6},0.008611111111111569,-0.010688888888888748,-0.002588888888888974]
[{"$nulls":15},"C Value",{"$nulls":6},-0.015088888888888263,-0.0014888888888879848,-0.0039888888888883756,{"$nulls":6},-0.0037111111111105544,-0.008411111111110259,0.028288888888889474,{"$nulls":6},0.0127000000000006,0.013700000000000934,0.01180000000000092,{"$nulls":6},0.015011111111110864,-0.023288888888888692,0.016911111111110877,{"$nulls":6},-0.0050888888888884765,0.026011111111110985,0.04301111111111133]
{"$rows_empty":26}
[null,"Analysis:"]
[]
[]
[]
[]
[]
[{"$nulls":15},"supporting data"]
[]
[{"$nulls":15},"divisions",null,{"v":-1,"d":"-1.00"},{"v":-0.9,"d":"-0.90"},{"v":-0.8,"d":"-0.80"},{"v":-0.7000000000000001,"d":"-0.70"},{"v":-0.6000000000000001,"d":"-0.60"},{"v":-0.5000000000000001,"d":"-0.50"},{"v":-0.40000000000000013,"d":"-0.40"},{"v":-0.30000000000000016,"d":"-0.30"},{"v":-0.20000000000000015,"d":"-0.20"},{"v":-0.10000000000000014,"d":"-0.10"},{"v":-1.3877787807814457e-16,"d":"-0.00"},{"v":0.09999999999999987,"d":"0.10"},{"v":0.19999999999999987,"d":"0.20"},{"v":0.2999999999999999,"d":"0.30"},{"v":0.3999999999999999,"d":"0.40"},{"v":0.4999999999999999,"d":"0.50"},{"v":0.5999999999999999,"d":"0.60"},{"v":0.6999999999999998,"d":"0.70"},{"v":0.7999999999999998,"d":"0.80"},{"v":0.8999999999999998,"d":"0.90"},{"v":0.9999999999999998,"d":"1.00"}]
[{"$nulls":15},"Count","Appr A",0,0,0,0,0,0,0,0,0,21,9,0,0,0,0,0,0,0,0,0,0]
[{"$nulls":16},"Appr B",0,0,0,0,0,0,0,0,0,13,17,0,0,0,0,0,0,0,0,0,0]
[{"$nulls":16},"Appr C",0,0,0,0,0,0,0,0,0,13,17,0,0,0,0,0,0,0,0,0,0]
{"$rows_empty":32}
[null,"Analysis:"]
[]
[]
[]
[]
[{"$nulls":15},"Appr A"]
[{"$nulls":15},"Appr B"]
[{"$nulls":15},"Appr C"]
{"$rows_empty":23}
[null,"Analysis:"]
{"$rows_empty":79}
[null,"Analysis:"]

{"sheet":"Sheet1","index":3,"n_rows":13,"n_cols":10,"rows_kept":13,"flags":["formulas_cached_only"]}
[4.2606,4.2631,4.223,4.2245,4.273,4.2527,4.2594,4.3031,4.206,4.2519]
[4.2515,4.306,4.2806,4.2565,4.2827,4.3108,4.228,4.3214,4.2367,4.2889]
[4.3071,4.3511,4.2373,4.2694,4.3208,4.2839,4.2609,4.3072,4.2691,4.293]
[]
[]
[4.265,4.3065,4.2612,4.2515,4.2865,4.2866,4.2474,4.3123,4.2333,4.3063]
[4.2691,4.3308,4.2864,4.2417,4.336,4.2977,4.2865,4.3317,4.2525,4.287]
[4.3106,4.3596,4.318,4.2948,4.3407,4.2964,4.2407,4.3295,4.2655,4.2951]
[]
[]
[4.2776,4.3112,4.2762,4.2584,4.2861,4.2695,4.2528,4.3366,4.2603,4.2926]
[4.2775,4.33,4.2711,4.2558,4.302,4.2831,4.2481,4.3376,4.222,4.3237]
[4.2707,4.3312,4.2908,4.2702,4.3139,4.2806,4.2848,4.3357,4.2622,4.3407]