{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["GR&R VAR(Tol)","Graphical","Module1"],"not_rendered":{"charts":19,"macros":1,"external_links":1,"defined_names":2,"comments":3},"unopened":[{"sheet":"Module1","index":2,"reason":"not_a_worksheet"}],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"GR&R VAR(Tol)","index":0,"n_rows":40,"n_cols":24,"rows_kept":40,"merged":[[35,21,35,24]],"flags":["formulas_cached_only"]}
["GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET",{"$nulls":13},"GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET"]
["VARIABLE DATA RESULTS",{"$nulls":13},"VARIABLE DATA RESULTS"]
[]
["Part Number",{"$nulls":4},"Gage Name",{"$nulls":3},"Appraiser A",{"$nulls":4},"Part Number",null,null,"Gage Name",{"$nulls":3},"Appraiser A"]
[{"$nulls":17},"",{"$nulls":3},""]
["Part Name",{"$nulls":4},"Gage Number",{"$nulls":3},"Appraiser B",{"$nulls":4},"Part Name",null,null,"Gage Number",{"$nulls":3},"Appraiser B"]
[{"$nulls":17},"",{"$nulls":3},""]
["Characteristic",null,null,"Specification",null,"Gage Type",{"$nulls":3},"Appraiser C",{"$nulls":4},"Characteristic",null,null,"Gage Type",{"$nulls":3},"Appraiser C"]
[{"$nulls":3},9,11,{"$nulls":9},"",null,null,"",{"$nulls":3},""]
["Characteristic Classification",{"$nulls":4},"Trials",null,"Parts",null,"Appraisers",null,"Date Performed",null,null,"Characteristic Classification",null,null,"Trials",null,"Parts",null,"Appraisers",null,"Date Performed"]
[{"$nulls":5},3,null,10,null,3,{"$nulls":4},"",null,null,3,null,10,null,3,null,""]
[{"$nulls":4},"",""]
["APPRAISER/",null,"PART",{"$nulls":9},"AVERAGE",{"$nulls":4},"Measurement Unit Analysis",{"$nulls":3},"% Tolerance (Tol)"]
["TRIAL #",null,1,2,3,4,5,6,7,8,9,10,null,null,"  Repeatability - Equipment Variation (EV)"]
["1.  A",1,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"},"EV","=","R  x  K1",null,null,"Trials","K1","% EV","=","100 (EV/Tol)"]
[{"v":2,"d":"2."},2,{"v":10,"d":"10.00"},9.95,9.84,{"v":9.6,"d":"9.60"},9.75,{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},10.15,null,{"v":9.939000000000002,"d":"9.939"},null,"=","0.135 x 0.5908",null,null,2,0.8862,null,"=","100(0.080/0.333)"]
[{"v":3,"d":"3."},3,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"},null,"=",{"v":0.07975799999999991,"d":"0.080"},null,null,3,0.5908,null,"=",{"v":23.927399999999974,"d":"23.93"}]
[{"v":4,"d":"4."},"AVE",{"v":10,"d":"10.00"},{"v":9.916666666666666,"d":"9.92"},{"v":9.813333333333334,"d":"9.81"},{"v":9.666666666666666,"d":"9.67"},{"v":9.783333333333333,"d":"9.78"},{"v":9.866666666666667,"d":"9.87"},{"v":9.966666666666667,"d":"9.97"},{"v":10.133333333333333,"d":"10.13"},{"v":10.2,"d":"10.20"},{"v":10.250000000000002,"d":"10.25"},"xa=",{"v":9.959666666666665,"d":"9.960"},"  Reproducibility - Appraiser Variation (AV)"]
[{"v":5,"d":"5."},"R",{"v":0,"d":"0.00"},{"v":0.049999999999998934,"d":"0.05"},{"v":0.03999999999999915,"d":"0.04"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.15000000000000036,"d":"0.15"},"ra=",{"v":0.06899999999999977,"d":"0.069"},"AV","=","{(xDIFF x K2)2 - (EV2/nr)}1/2",{"$nulls":4},"% AV","=","100 (AV/Tol)"]
["6.  B",1,{"v":9.9,"d":"9.90"},{"v":9.1,"d":"9.10"},{"v":9.7,"d":"9.70"},9.65,9.76,{"v":9.8,"d":"9.80"},9.95,10.05,10.18,{"v":10.2,"d":"10.20"},null,9.829,null,"=","{(0.151 x 0.5231)^2 - (0.080 ^2/(10 x 3))}^1/2",{"$nulls":5},"=","100(0.078/0.333)"]
[{"v":7,"d":"7."},2,{"v":9,"d":"9.00"},{"v":9.1,"d":"9.10"},9.75,{"v":9.5,"d":"9.50"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},10.22,{"v":10.3,"d":"10.30"},null,9.777,null,"=",{"v":0.07763424065970949,"d":"0.078"},{"$nulls":5},"=",{"v":23.29027219791285,"d":"23.29"}]
[{"v":8,"d":"8."},3,{"v":9.7,"d":"9.70"},9.15,{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":10.1,"d":"10.10"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.82,"d":"9.820"},{"$nulls":4},"Appraisers",2,3]
[{"v":9,"d":"9."},"AVE",{"v":9.533333333333333,"d":"9.53"},{"v":9.116666666666667,"d":"9.12"},9.75,{"v":9.616666666666665,"d":"9.62"},9.82,{"v":9.866666666666667,"d":"9.87"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.183333333333332,"d":"10.18"},{"v":10.200000000000001,"d":"10.20"},"xb=",{"v":9.808666666666669,"d":"9.809"},"           n = parts        r = trials",{"$nulls":3},"K2",0.7071,0.5231]
[{"v":10,"d":"10."},"R",{"v":0.9000000000000004,"d":"0.90"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.1999999999999993,"d":"0.20"},{"v":0.14000000000000057,"d":"0.14"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.07000000000000028,"d":"0.07"},{"v":0.20000000000000107,"d":"0.20"},"rb=",{"v":0.20600000000000004,"d":"0.206"},"  Repeatability & Reproducibility (GRR)",{"$nulls":6},"% GRR","=","100 (GRR/Tol)"]
["11.  C",1,{"v":10.2,"d":"10.20"},{"v":9.2,"d":"9.20"},{"v":9.9,"d":"9.90"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},9.95,9.95,{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.86,"d":"9.860"},"GRR","=","{(EV2 + AV2)}1/2",null,null,"Parts","K3",null,"=","100(0.111/0.333)"]
[{"v":12,"d":"12."},2,{"v":10.1,"d":"10.10"},{"v":9.3,"d":"9.30"},9.95,9.55,{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.860000000000001,"d":"9.860"},null,"=","{(0.080^2 + 0.078^2)}^1/2",null,null,2,0.7087,null,"=",{"v":33.39097557444033,"d":"33.39"}]
[{"v":13,"d":"13."},3,10.05,{"v":9.3,"d":"9.30"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.809999999999999,"d":"9.810"},null,"=",{"v":0.1113032519148011,"d":"0.111"},null,null,3,0.5231,"Gage system needs improvement"]
[{"v":14,"d":"14."},"AVE",{"v":10.116666666666665,"d":"10.12"},{"v":9.266666666666667,"d":"9.27"},{"v":9.816666666666668,"d":"9.82"},{"v":9.616666666666665,"d":"9.62"},{"v":9.766666666666667,"d":"9.77"},{"v":9.8,"d":"9.80"},{"v":9.883333333333335,"d":"9.88"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.166666666666666,"d":"10.17"},"xc=",{"v":9.843333333333335,"d":"9.843"},"  Part Variation (PV)",{"$nulls":4},4,0.4467]
[{"v":15,"d":"15."},"R",{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.34999999999999964,"d":"0.35"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"},"rc=",{"v":0.12999999999999973,"d":"0.130"},"PV","=","RP x K3",null,null,5,{"v":0.403,"d":"0.4030"},"% PV","=","100 (PV/Tol)"]
["16. PART ",{"$nulls":11},"X=",{"v":9.870555555555558,"d":"9.871"},null,"=","0.772 x 0.3146",null,null,6,0.3742,null,"=","100(0.243/0.333)"]
["   AVERAGE",null,{"v":9.883333333333333,"d":"9.88"},{"v":9.433333333333332,"d":"9.43"},{"v":9.793333333333335,"d":"9.79"},{"v":9.633333333333333,"d":"9.63"},9.79,{"v":9.844444444444445,"d":"9.84"},{"v":9.911111111111111,"d":"9.91"},{"v":10.044444444444444,"d":"10.04"},{"v":10.166666666666666,"d":"10.17"},{"v":10.205555555555556,"d":"10.21"},"Rp=",{"v":0.7722222222222239,"d":"0.772"},null,"=",{"v":0.24294111111111164,"d":"0.243"},null,null,7,0.3534,null,"=",{"v":72.88233333333349,"d":"72.88"}]
[{"v":17,"d":"17."},"(ra + rb + rc) / (# OF APPRAISERS) =",{"$nulls":10},"R=",{"v":0.13499999999999984,"d":"0.135"},"  Tolerance (Tol)",{"$nulls":4},8,0.3375]
[{"v":18,"d":"18."},"xDIFF = (Max x - Min x) =",{"$nulls":10},"xDIFF=",{"v":0.15099999999999625,"d":"0.151"},"Tol","=","Upper - Lower / 6",null,null,9,0.3249,"ndc","=","1.41(PV/GRR)"]
[{"v":19,"d":"19."},"* UCLR = R x D4 =",null,null,"APPRAISER",null,"","B","C","OUT OF CONTROL",null,null,"UCLR=",{"v":0.3482999999999996,"d":"0.348"},null,"=","( 11 - 9 ) / 6",null,null,10,0.3146,null,"=","1.41(0.243/0.111)"]
[{"$nulls":15},"=",{"v":0.3333333333333333,"d":"0.333"},{"$nulls":5},"=",3]
["* D4 =3.27 for 2 trials and 2.58 for 3 trials.  UCLR represents the limit of individual R's.  Circle those that are",{"$nulls":20},"Gage discrimination low"]
["beyond this limit.  Identify the cause and correct.  Repeat these readings using the same appraiser and unit as originally used or"]
["discard values and re-average and recompute R and the limiting value from the remaining observations.",{"$nulls":13},"   For information on the theory and constants used in the form see MSA Reference Manual, Third edition."]
[]
["Notes:"]

{"sheet":"Graphical","index":1,"n_rows":458,"n_cols":61,"rows_kept":458,"flags":["formulas_cached_only"]}
["GAGE REPEATABILITY AND REPRODUCIBILITY DATA SHEET"]
["GRAPHICAL ANALYSIS"]
[]
["Part Number",{"$nulls":4},"Gage Name",{"$nulls":3},"Appraiser A"]
[{"$error":"#REF!"}]
["Part Name",{"$nulls":4},"Gage Number",{"$nulls":3},"Appraiser B"]
[{"$error":"#REF!"}]
["Characteristic",null,null,"Specification",null,"Gage Type",{"$nulls":3},"Appraiser C"]
[{"$nulls":3},"Lower","Upper"]
["Characteristic Classification",{"$nulls":4},"Trials",null,"Parts",null,"Appraisers",null,"Date Performed"]
[{"$nulls":5},3,null,10,null,3]
[{"$nulls":4},"",""]
["APPRAISER/",null,"PART",{"$nulls":9},"AVERAGE"]
["TRIAL #",null,1,2,3,4,5,6,7,8,9,10]
["1.  A",1,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"}]
[{"v":2,"d":"2."},2,{"v":10,"d":"10.00"},9.95,9.84,{"v":9.6,"d":"9.60"},9.75,{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},10.15,null,{"v":9.939000000000002,"d":"9.939"}]
[{"v":3,"d":"3."},3,{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},null,{"v":9.969999999999999,"d":"9.970"}]
[{"v":4,"d":"4."},"AVE",{"v":10,"d":"10.00"},{"v":9.916666666666666,"d":"9.92"},{"v":9.813333333333334,"d":"9.81"},{"v":9.666666666666666,"d":"9.67"},{"v":9.783333333333333,"d":"9.78"},{"v":9.866666666666667,"d":"9.87"},{"v":9.966666666666667,"d":"9.97"},{"v":10.133333333333333,"d":"10.13"},{"v":10.2,"d":"10.20"},{"v":10.250000000000002,"d":"10.25"},"xa=",{"v":9.959666666666665,"d":"9.960"}]
[{"v":5,"d":"5."},"R",{"v":0,"d":"0.00"},{"v":0.049999999999998934,"d":"0.05"},{"v":0.03999999999999915,"d":"0.04"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.15000000000000036,"d":"0.15"},"ra=",{"v":0.06899999999999977,"d":"0.069"}]
["6.  B",1,{"v":9.9,"d":"9.90"},{"v":9.1,"d":"9.10"},{"v":9.7,"d":"9.70"},9.65,9.76,{"v":9.8,"d":"9.80"},9.95,10.05,10.18,{"v":10.2,"d":"10.20"},null,9.829]
[{"v":7,"d":"7."},2,{"v":9,"d":"9.00"},{"v":9.1,"d":"9.10"},9.75,{"v":9.5,"d":"9.50"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.2,"d":"10.20"},10.22,{"v":10.3,"d":"10.30"},null,9.777]
[{"v":8,"d":"8."},3,{"v":9.7,"d":"9.70"},9.15,{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":10.1,"d":"10.10"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.82,"d":"9.820"}]
[{"v":9,"d":"9."},"AVE",{"v":9.533333333333333,"d":"9.53"},{"v":9.116666666666667,"d":"9.12"},9.75,{"v":9.616666666666665,"d":"9.62"},9.82,{"v":9.866666666666667,"d":"9.87"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.183333333333332,"d":"10.18"},{"v":10.200000000000001,"d":"10.20"},"xb=",{"v":9.808666666666669,"d":"9.809"}]
[{"v":10,"d":"10."},"R",{"v":0.9000000000000004,"d":"0.90"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.1999999999999993,"d":"0.20"},{"v":0.14000000000000057,"d":"0.14"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.07000000000000028,"d":"0.07"},{"v":0.20000000000000107,"d":"0.20"},"rb=",{"v":0.20600000000000004,"d":"0.206"}]
["11.  C",1,{"v":10.2,"d":"10.20"},{"v":9.2,"d":"9.20"},{"v":9.9,"d":"9.90"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},9.95,9.95,{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.86,"d":"9.860"}]
[{"v":12,"d":"12."},2,{"v":10.1,"d":"10.10"},{"v":9.3,"d":"9.30"},9.95,9.55,{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},null,{"v":9.860000000000001,"d":"9.860"}]
[{"v":13,"d":"13."},3,10.05,{"v":9.3,"d":"9.30"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},10.15,{"v":10.1,"d":"10.10"},null,{"v":9.809999999999999,"d":"9.810"}]
[{"v":14,"d":"14."},"AVE",{"v":10.116666666666665,"d":"10.12"},{"v":9.266666666666667,"d":"9.27"},{"v":9.816666666666668,"d":"9.82"},{"v":9.616666666666665,"d":"9.62"},{"v":9.766666666666667,"d":"9.77"},{"v":9.8,"d":"9.80"},{"v":9.883333333333335,"d":"9.88"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.166666666666666,"d":"10.17"},"xc=",{"v":9.843333333333335,"d":"9.843"}]
[{"v":15,"d":"15."},"R",{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.34999999999999964,"d":"0.35"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"},"rc=",{"v":0.12999999999999973,"d":"0.130"}]
["16. PART ",{"$nulls":11},"X=",{"v":9.870555555555558,"d":"9.871"}]
["     AVE ( Xp )",null,{"v":9.883333333333333,"d":"9.88"},{"v":9.433333333333332,"d":"9.43"},{"v":9.793333333333335,"d":"9.79"},{"v":9.633333333333333,"d":"9.63"},9.79,{"v":9.844444444444445,"d":"9.84"},{"v":9.911111111111111,"d":"9.91"},{"v":10.044444444444444,"d":"10.04"},{"v":10.166666666666666,"d":"10.17"},{"v":10.205555555555556,"d":"10.21"},"Rp=",{"v":0.7722222222222239,"d":"0.772"}]
[]
[]
["Note:","The REFERENCE VALUE can be substituted for PART AVE to generate graphs indication true bias."]
{"$rows_empty":18}
[{"$nulls":15},"Supporting line"]
[{"$nulls":16},1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Upper Spec","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"Lower Spec","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"Rucl",{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"}]
{"$rows_empty":10}
[null,"Analysis:"]
{"$rows_empty":21}
[null,"Analysis:"]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":16},"Appr A",{"$nulls":9},"Appr B",{"$nulls":9},"Appr C"]
[{"$nulls":16},1,2,3,4,5,6,7,8,9,10,1,2,3,4,5,6,7,8,9,10,1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Mean",{"v":10,"d":"10.00"},{"v":9.916666666666666,"d":"9.92"},{"v":9.813333333333334,"d":"9.81"},{"v":9.666666666666666,"d":"9.67"},{"v":9.783333333333333,"d":"9.78"},{"v":9.866666666666667,"d":"9.87"},{"v":9.966666666666667,"d":"9.97"},{"v":10.133333333333333,"d":"10.13"},{"v":10.2,"d":"10.20"},{"v":10.250000000000002,"d":"10.25"},{"v":9.533333333333333,"d":"9.53"},{"v":9.116666666666667,"d":"9.12"},9.75,{"v":9.616666666666665,"d":"9.62"},9.82,{"v":9.866666666666667,"d":"9.87"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.183333333333332,"d":"10.18"},{"v":10.200000000000001,"d":"10.20"},{"v":10.116666666666665,"d":"10.12"},{"v":9.266666666666667,"d":"9.27"},{"v":9.816666666666668,"d":"9.82"},{"v":9.616666666666665,"d":"9.62"},{"v":9.766666666666667,"d":"9.77"},{"v":9.8,"d":"9.80"},{"v":9.883333333333335,"d":"9.88"},{"v":9.883333333333335,"d":"9.88"},{"v":10.116666666666667,"d":"10.12"},{"v":10.166666666666666,"d":"10.17"}]
[{"$nulls":15},"Range",{"v":0,"d":"0.00"},{"v":0.049999999999998934,"d":"0.05"},{"v":0.03999999999999915,"d":"0.04"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.09999999999999964,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.15000000000000036,"d":"0.15"},{"v":0.9000000000000004,"d":"0.90"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.1999999999999993,"d":"0.20"},{"v":0.14000000000000057,"d":"0.14"},{"v":0.09999999999999964,"d":"0.10"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.07000000000000028,"d":"0.07"},{"v":0.20000000000000107,"d":"0.20"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0.34999999999999964,"d":"0.35"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.10000000000000142,"d":"0.10"},{"v":0,"d":"0.00"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.14999999999999858,"d":"0.15"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.09999999999999964,"d":"0.10"}]
[{"$nulls":15},"UCL B",{"$nulls":10},"Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"LCL B",{"$nulls":10},"Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"UCL C",{"$nulls":20},"Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper","Upper"]
[{"$nulls":15},"LCL C",{"$nulls":20},"Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower","Lower"]
[{"$nulls":15},"Rucl B",{"$nulls":10},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"}]
[{"$nulls":15},"Rucl C",{"$nulls":20},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"},{"v":0.3482999999999996,"d":"0.348"}]
[]
[]
[]
[]
[]
[]
[null,"Analysis:"]
{"$rows_empty":21}
[null,"Analysis:"]
{"$rows_empty":29}
[null,"Analysis:"]
{"$rows_empty":14}
[{"$nulls":15},"Supporting Data"]
[{"$nulls":20},"Part 1",{"$nulls":8},"Part 2",{"$nulls":8},"Part 3",{"$nulls":8},"Part 4",{"$nulls":8},"Part 5"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",{"v":10,"d":"10.00"},{"v":10,"d":"10.00"},{"v":10,"d":"10.00"},{"$nulls":6},{"v":9.9,"d":"9.90"},9.95,{"v":9.9,"d":"9.90"},{"$nulls":6},{"v":9.8,"d":"9.80"},9.84,{"v":9.8,"d":"9.80"},{"$nulls":6},{"v":9.7,"d":"9.70"},{"v":9.6,"d":"9.60"},{"v":9.7,"d":"9.70"},{"$nulls":6},{"v":9.8,"d":"9.80"},9.75,{"v":9.8,"d":"9.80"}]
[{"$nulls":15},"B Value",{"$nulls":3},{"v":9.9,"d":"9.90"},{"v":9,"d":"9.00"},{"v":9.7,"d":"9.70"},{"$nulls":6},{"v":9.1,"d":"9.10"},{"v":9.1,"d":"9.10"},9.15,{"$nulls":6},{"v":9.7,"d":"9.70"},9.75,{"v":9.8,"d":"9.80"},{"$nulls":6},9.65,{"v":9.5,"d":"9.50"},{"v":9.7,"d":"9.70"},{"$nulls":6},9.76,{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"}]
[{"$nulls":15},"C Value",{"$nulls":6},{"v":10.2,"d":"10.20"},{"v":10.1,"d":"10.10"},10.05,{"$nulls":6},{"v":9.2,"d":"9.20"},{"v":9.3,"d":"9.30"},{"v":9.3,"d":"9.30"},{"$nulls":6},{"v":9.9,"d":"9.90"},9.95,{"v":9.6,"d":"9.60"},{"$nulls":6},{"v":9.6,"d":"9.60"},9.55,{"v":9.7,"d":"9.70"},{"$nulls":6},{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"}]
[]
[{"$nulls":20},"Part 6",{"$nulls":8},"Part 7",{"$nulls":8},"Part 8",{"$nulls":8},"Part 9",{"$nulls":8},"Part 10"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"$nulls":6},{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"$nulls":6},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},{"v":10.1,"d":"10.10"},{"$nulls":6},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},{"$nulls":6},{"v":10.3,"d":"10.30"},10.15,{"v":10.3,"d":"10.30"}]
[{"$nulls":15},"B Value",{"$nulls":3},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},{"$nulls":6},9.95,{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"$nulls":6},10.05,{"v":10.2,"d":"10.20"},{"v":10.1,"d":"10.10"},{"$nulls":6},10.18,10.22,10.15,{"$nulls":6},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"},{"v":10.1,"d":"10.10"}]
[{"$nulls":15},"C Value",{"$nulls":6},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"$nulls":6},9.95,{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"$nulls":6},9.95,{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"$nulls":6},{"v":10.1,"d":"10.10"},{"v":10.1,"d":"10.10"},10.15,{"$nulls":6},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},{"v":10.1,"d":"10.10"}]
{"$rows_empty":26}
[null,"Analysis:"]
[]
[]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":17},1,2,3,4,5,6,7,8,9,10]
[{"$nulls":15},"Appr A","Max",{"v":10,"d":"10.00"},9.95,9.84,{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10,"d":"10.00"},{"v":10.2,"d":"10.20"},{"v":10.2,"d":"10.20"},{"v":10.3,"d":"10.30"}]
[{"$nulls":16},"+",{"v":0,"d":"0.00"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.026666666666665506,"d":"0.03"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.016666666666667496,"d":"0.02"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.06666666666666643,"d":"0.07"},{"v":0,"d":"0.00"},{"v":0.049999999999998934,"d":"0.05"}]
[{"$nulls":16},"Min",{"v":10,"d":"10.00"},{"v":9.9,"d":"9.90"},{"v":9.8,"d":"9.80"},{"v":9.6,"d":"9.60"},9.75,{"v":9.8,"d":"9.80"},{"v":9.9,"d":"9.90"},{"v":10.1,"d":"10.10"},{"v":10.2,"d":"10.20"},10.15]
[{"$nulls":16},"-",{"v":0,"d":"0.00"},{"v":0.01666666666666572,"d":"0.02"},{"v":0.013333333333333641,"d":"0.01"},{"v":0.06666666666666643,"d":"0.07"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.06666666666666643,"d":"0.07"},{"v":0.06666666666666643,"d":"0.07"},{"v":0.033333333333333215,"d":"0.03"},{"v":0,"d":"0.00"},{"v":0.10000000000000142,"d":"0.10"}]
[{"$nulls":15},"Appr B","Max",{"v":9.9,"d":"9.90"},9.15,{"v":9.8,"d":"9.80"},{"v":9.7,"d":"9.70"},{"v":9.9,"d":"9.90"},{"v":9.9,"d":"9.90"},9.95,{"v":10.2,"d":"10.20"},10.22,{"v":10.3,"d":"10.30"}]
[{"$nulls":16},"+",{"v":0.36666666666666714,"d":"0.37"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.08333333333333393,"d":"0.08"},{"v":0.08000000000000007,"d":"0.08"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.06666666666666465,"d":"0.07"},{"v":0.08333333333333215,"d":"0.08"},{"v":0.036666666666668846,"d":"0.04"},{"v":0.09999999999999964,"d":"0.10"}]
[{"$nulls":16},"Min",{"v":9,"d":"9.00"},{"v":9.1,"d":"9.10"},{"v":9.7,"d":"9.70"},{"v":9.5,"d":"9.50"},9.76,{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},10.05,10.15,{"v":10.1,"d":"10.10"}]
[{"$nulls":16},"-",{"v":0.5333333333333332,"d":"0.53"},{"v":0.016666666666667496,"d":"0.02"},{"v":0.05000000000000071,"d":"0.05"},{"v":0.11666666666666536,"d":"0.12"},{"v":0.0600000000000005,"d":"0.06"},{"v":0.06666666666666643,"d":"0.07"},{"v":0.08333333333333393,"d":"0.08"},{"v":0.06666666666666643,"d":"0.07"},{"v":0.03333333333333144,"d":"0.03"},{"v":0.10000000000000142,"d":"0.10"}]
[{"$nulls":15},"Appr C","Max",{"v":10.2,"d":"10.20"},{"v":9.3,"d":"9.30"},9.95,{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},9.95,9.95,10.15,{"v":10.2,"d":"10.20"}]
[{"$nulls":16},"+",{"v":0.08333333333333393,"d":"0.08"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.13333333333333108,"d":"0.13"},{"v":0.08333333333333393,"d":"0.08"},{"v":0.033333333333333215,"d":"0.03"},{"v":0,"d":"0.00"},{"v":0.06666666666666465,"d":"0.07"},{"v":0.06666666666666465,"d":"0.07"},{"v":0.033333333333333215,"d":"0.03"},{"v":0.033333333333333215,"d":"0.03"}]
[{"$nulls":16},"Min",10.05,{"v":9.2,"d":"9.20"},{"v":9.6,"d":"9.60"},9.55,{"v":9.7,"d":"9.70"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":9.8,"d":"9.80"},{"v":10.1,"d":"10.10"},{"v":10.1,"d":"10.10"}]
[{"$nulls":16},"-",{"v":0.06666666666666465,"d":"0.07"},{"v":0.0666666666666682,"d":"0.07"},{"v":0.21666666666666856,"d":"0.22"},{"v":0.06666666666666465,"d":"0.07"},{"v":0.0666666666666682,"d":"0.07"},{"v":0,"d":"0.00"},{"v":0.08333333333333393,"d":"0.08"},{"v":0.08333333333333393,"d":"0.08"},{"v":0.016666666666667496,"d":"0.02"},{"v":0.06666666666666643,"d":"0.07"}]
{"$rows_empty":25}
[null,"Analysis:"]
[]
[]
[]
[{"$nulls":15},"Supporting Data"]
[{"$nulls":20},"Part 1",{"$nulls":8},"Part 2",{"$nulls":8},"Part 3",{"$nulls":8},"Part 4",{"$nulls":8},"Part 5"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",0.11666666666666714,0.11666666666666714,0.11666666666666714,{"$nulls":6},0.46666666666666856,0.5166666666666675,0.46666666666666856,{"$nulls":6},0.0066666666666659324,0.04666666666666508,0.0066666666666659324,{"$nulls":6},0.06666666666666643,-0.033333333333333215,0.06666666666666643,{"$nulls":6},0.010000000000001563,-0.03999999999999915,0.010000000000001563]
[{"$nulls":15},"B Value",{"$nulls":3},0.016666666666667496,-0.8833333333333329,-0.18333333333333357,{"$nulls":6},-0.33333333333333215,-0.33333333333333215,-0.28333333333333144,{"$nulls":6},-0.09333333333333549,-0.04333333333333478,0.0066666666666659324,{"$nulls":6},0.016666666666667496,-0.13333333333333286,0.06666666666666643,{"$nulls":6},-0.02999999999999936,0.11000000000000121,0.010000000000001563]
[{"$nulls":15},"C Value",{"$nulls":6},0.31666666666666643,0.21666666666666679,0.16666666666666785,{"$nulls":6},-0.2333333333333325,-0.13333333333333108,-0.13333333333333108,{"$nulls":6},0.10666666666666558,0.1566666666666645,-0.19333333333333513,{"$nulls":6},-0.033333333333333215,-0.08333333333333215,0.06666666666666643,{"$nulls":6},-0.08999999999999986,0.010000000000001563,0.010000000000001563]
[]
[{"$nulls":20},"Part 6",{"$nulls":8},"Part 7",{"$nulls":8},"Part 8",{"$nulls":8},"Part 9",{"$nulls":8},"Part 10"]
[{"$nulls":16},"A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3","A1","A2","A3","B1","B2","B3","C1","C2","C3"]
[{"$nulls":15},"A Value",0.05555555555555536,-0.04444444444444429,0.05555555555555536,{"$nulls":6},0.08888888888888857,-0.011111111111111072,0.08888888888888857,{"$nulls":6},0.05555555555555536,0.155555555555555,0.05555555555555536,{"$nulls":6},0.033333333333333215,0.033333333333333215,0.033333333333333215,{"$nulls":6},0.094444444444445,-0.05555555555555536,0.094444444444445]
[{"$nulls":15},"B Value",{"$nulls":3},-0.04444444444444429,0.05555555555555536,0.05555555555555536,{"$nulls":6},0.03888888888888786,-0.011111111111111072,-0.11111111111111072,{"$nulls":6},0.005555555555556424,0.155555555555555,0.05555555555555536,{"$nulls":6},0.013333333333333641,0.053333333333334565,-0.01666666666666572,{"$nulls":6},-0.005555555555556424,0.094444444444445,-0.10555555555555607]
[{"$nulls":15},"C Value",{"$nulls":6},-0.04444444444444429,-0.04444444444444429,-0.04444444444444429,{"$nulls":6},0.03888888888888786,-0.011111111111111072,-0.11111111111111072,{"$nulls":6},-0.094444444444445,-0.14444444444444393,-0.24444444444444358,{"$nulls":6},-0.06666666666666643,-0.06666666666666643,-0.01666666666666572,{"$nulls":6},-0.005555555555556424,-0.005555555555556424,-0.10555555555555607]
{"$rows_empty":26}
[null,"Analysis:"]
[]
[]
[]
[]
[]
[{"$nulls":15},"supporting data"]
[]
[{"$nulls":15},"divisions",null,{"v":-1,"d":"-1.00"},{"v":-0.9,"d":"-0.90"},{"v":-0.8,"d":"-0.80"},{"v":-0.7000000000000001,"d":"-0.70"},{"v":-0.6000000000000001,"d":"-0.60"},{"v":-0.5000000000000001,"d":"-0.50"},{"v":-0.40000000000000013,"d":"-0.40"},{"v":-0.30000000000000016,"d":"-0.30"},{"v":-0.20000000000000015,"d":"-0.20"},{"v":-0.10000000000000014,"d":"-0.10"},{"v":-1.3877787807814457e-16,"d":"-0.00"},{"v":0.09999999999999987,"d":"0.10"},{"v":0.19999999999999987,"d":"0.20"},{"v":0.2999999999999999,"d":"0.30"},{"v":0.3999999999999999,"d":"0.40"},{"v":0.4999999999999999,"d":"0.50"},{"v":0.5999999999999999,"d":"0.60"},{"v":0.6999999999999998,"d":"0.70"},{"v":0.7999999999999998,"d":"0.80"},{"v":0.8999999999999998,"d":"0.90"},{"v":0.9999999999999998,"d":"1.00"}]
[{"$nulls":15},"Count","Appr A",0,0,0,0,0,0,0,0,0,5,18,4,0,0,2,1,0,0,0,0,0]
[{"$nulls":16},"Appr B",0,1,0,0,0,0,2,1,4,7,13,2,0,0,0,0,0,0,0,0,0]
[{"$nulls":16},"Appr C",0,0,0,0,0,0,0,2,6,13,4,3,1,1,0,0,0,0,0,0,0]
{"$rows_empty":32}
[null,"Analysis:"]
[]
[]
[]
[]
[{"$nulls":15},"Appr A"]
[{"$nulls":15},"Appr B"]
[{"$nulls":15},"Appr C"]
{"$rows_empty":23}
[null,"Analysis:"]
{"$rows_empty":79}
[null,"Analysis:"]