relaycontrol vi

- 2 channels serial port relay board control

Input:

Visa resource name = Serial port number

Relay num(Int): Relay number selection

Relay On/Off (Boolean) = True = ON, False = Off

Output:

State out = detected state out

Front Panel: